## Result sheet
Method name: Weinreich_evolution
Application: SparkControl |  |  |  | V3.1 SP1
Device: Spark |  |  |  | Serial number: 2102015905
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦MTP:V14.2.11¦FLUOR:V5.1.4¦FLUOR_BOTTOM:V5.0.2¦GCM:V3.0.2¦STACKER:V1.0.3¦PODI:V1.11.2
Date: |  |  |  | 2022-09-20
Time: |  |  |  | 12:51 PM
System |  |  |  | LRI-106622
User |  |  |  | LRI-106622\Install
Plate |  |  |  | [COR96fc UV transparent] - Corning 96 Flat Transparent Cat. No.: 3635
Lid lifter |  |  |  | Lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Kinetic
Shaking
|  | Absorbance |  |  |  | OD600
Name |  |  |  | COR96fc UV transparent
Plate layout
Plate area |  |  |  | A1-H12
Start Time |  |  |  | 2022-09-19 12:40:39
Temperature control |  |  |  | On
Target temperature [°C] |  |  |  | 37
Wait minimum [°C] |  |  |  | 30
Wait maximum [°C] |  |  |  | 40
End Time |  |  |  | 2022-09-19 12:44:11
Mode | Kinetic
Kinetic duration [hhmmss] |  |  |  | 23:59:59
Interval time |  |  |  | Not defined
Shaking (Orbital) Duration [s] |  |  |  | 1200
Shaking (Orbital) Position |  |  |  | Current
Shaking (Orbital) Amplitude [mm] |  |  |  | 1
Shaking (Orbital) Frequency [rpm] |  |  |  | 510
Mode | Absorbance
Name | OD600
Measurement wavelength [nm] |  |  |  | 600
Number of flashes |  |  |  | 10
Settle time [ms] |  |  |  | 50
Part of Plate |  |  |  | A1-H12
Start Time |  |  |  | 2022-09-19 12:44:11
OD600
Cycle Nr. | Time [s] | Temp. [°C] | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
1 | 0 | 36.9 | 0.1074 | 0.1062 | 0.104 | 0.1055 | 0.1075 | 0.1084 | 0.1044 | 0.1055 | 0.1088 | 0.1099 | 0.1081 | 0.1063 | 0.1068 | 0.1073 | 0.1062 | 0.1059 | 0.107 | 0.1074 | 0.1063 | 0.1072 | 0.1105 | 0.1076 | 0.1079 | 0.1062 | 0.1079 | 0.1072 | 0.1052 | 0.1062 | 0.1062 | 0.1077 | 0.106 | 0.1082 | 0.1076 | 0.1088 | 0.1075 | 0.108 | 0.1065 | 0.1072 | 0.1048 | 0.1053 | 0.1052 | 0.1061 | 0.1065 | 0.106 | 0.1068 | 0.1081 | 0.1075 | 0.1067 | 0.1072 | 0.1069 | 0.1048 | 0.1055 | 0.1047 | 0.1048 | 0.1079 | 0.108 | 0.1087 | 0.1092 | 0.1094 | 0.1078 | 0.1074 | 0.1063 | 0.1053 | 0.1062 | 0.1057 | 0.1059 | 0.1063 | 0.1077 | 0.1082 | 0.1192 | 0.108 | 0.1085 | 0.1078 | 0.1071 | 0.1066 | 0.1088 | 0.1062 | 0.1064 | 0.1078 | 0.1087 | 0.1081 | 0.1119 | 0.106 | 0.2299 | 0.1072 | 0.1071 | 0.1078 | 0.1083 | 0.3592 | 0.1096 | 0.1071 | 0.1083 | 0.1068 | 0.1082 | 0.1061 | 0.106
2 | 1223.436 | 37 | 0.112 | 0.1112 | 0.1087 | 0.1104 | 0.1132 | 0.1152 | 0.1095 | 0.1115 | 0.116 | 0.1181 | 0.1164 | 0.1149 | 0.111 | 0.1114 | 0.1104 | 0.1099 | 0.1114 | 0.1122 | 0.1118 | 0.1133 | 0.1184 | 0.1143 | 0.1147 | 0.1137 | 0.112 | 0.1108 | 0.109 | 0.1102 | 0.1104 | 0.1122 | 0.1112 | 0.1139 | 0.1132 | 0.1151 | 0.1142 | 0.1157 | 0.1103 | 0.1106 | 0.1081 | 0.1088 | 0.1088 | 0.1103 | 0.1115 | 0.1109 | 0.1118 | 0.1141 | 0.1132 | 0.1139 | 0.1108 | 0.1102 | 0.1083 | 0.1083 | 0.1086 | 0.1079 | 0.1126 | 0.113 | 0.114 | 0.1146 | 0.1156 | 0.1143 | 0.1106 | 0.1093 | 0.1085 | 0.1088 | 0.1085 | 0.1089 | 0.11 | 0.1119 | 0.1123 | 0.1264 | 0.1122 | 0.1142 | 0.1117 | 0.1103 | 0.11 | 0.1125 | 0.1095 | 0.1101 | 0.1112 | 0.1127 | 0.1124 | 0.1168 | 0.1102 | 0.2353 | 0.1109 | 0.1106 | 0.1111 | 0.1114 | 0.1949 | 0.1137 | 0.1112 | 0.112 | 0.1105 | 0.1125 | 0.1103 | 0.1112
3 | 2446.202 | 37.3 | 0.1225 | 0.1211 | 0.1177 | 0.1203 | 0.1247 | 0.1284 | 0.1198 | 0.1234 | 0.1304 | 0.1328 | 0.131 | 0.129 | 0.12 | 0.1202 | 0.1191 | 0.1188 | 0.1208 | 0.1222 | 0.1224 | 0.1244 | 0.1327 | 0.1267 | 0.127 | 0.1274 | 0.1207 | 0.1191 | 0.117 | 0.1182 | 0.1188 | 0.122 | 0.1219 | 0.1254 | 0.1242 | 0.1276 | 0.127 | 0.13 | 0.1185 | 0.1176 | 0.1155 | 0.1164 | 0.1161 | 0.119 | 0.1214 | 0.1212 | 0.1221 | 0.1258 | 0.1243 | 0.127 | 0.119 | 0.1179 | 0.1162 | 0.1158 | 0.1172 | 0.1158 | 0.1224 | 0.1241 | 0.1249 | 0.1257 | 0.1273 | 0.1258 | 0.1184 | 0.1164 | 0.1151 | 0.1152 | 0.1151 | 0.1163 | 0.1179 | 0.1212 | 0.1217 | 0.1416 | 0.1219 | 0.1252 | 0.1204 | 0.1184 | 0.1188 | 0.1218 | 0.1181 | 0.119 | 0.1193 | 0.1218 | 0.1216 | 0.1266 | 0.1188 | 0.2595 | 0.1187 | 0.1178 | 0.1182 | 0.119 | 0.2304 | 0.1226 | 0.1199 | 0.1204 | 0.1191 | 0.1215 | 0.1197 | 0.1215
4 | 3668.974 | 37 | 0.1405 | 0.1387 | 0.1339 | 0.138 | 0.1447 | 0.1514 | 0.1371 | 0.1436 | 0.1544 | 0.1574 | 0.1544 | 0.1522 | 0.1352 | 0.1355 | 0.1344 | 0.1344 | 0.1372 | 0.1398 | 0.1406 | 0.1443 | 0.1563 | 0.1474 | 0.1479 | 0.1483 | 0.1359 | 0.1329 | 0.131 | 0.1327 | 0.134 | 0.139 | 0.1397 | 0.1454 | 0.1441 | 0.1479 | 0.1485 | 0.1526 | 0.1321 | 0.1309 | 0.1296 | 0.1304 | 0.1312 | 0.1355 | 0.1389 | 0.1382 | 0.1401 | 0.1452 | 0.1432 | 0.148 | 0.133 | 0.1312 | 0.1303 | 0.1289 | 0.1319 | 0.1298 | 0.139 | 0.1425 | 0.1432 | 0.1441 | 0.1464 | 0.1459 | 0.1312 | 0.1283 | 0.1273 | 0.1275 | 0.1271 | 0.1296 | 0.1325 | 0.1375 | 0.138 | 0.169 | 0.1396 | 0.1441 | 0.1357 | 0.132 | 0.1339 | 0.1385 | 0.1329 | 0.1338 | 0.1337 | 0.1379 | 0.1377 | 0.1443 | 0.1337 | 0.2938 | 0.1328 | 0.1311 | 0.1319 | 0.1312 | 0.285 | 0.1388 | 0.1344 | 0.1356 | 0.1339 | 0.1369 | 0.1351 | 0.139
5 | 4891.727 | 37.1 | 0.1703 | 0.168 | 0.1605 | 0.1679 | 0.1785 | 0.1903 | 0.1665 | 0.1772 | 0.1941 | 0.1981 | 0.1932 | 0.1911 | 0.1604 | 0.1606 | 0.159 | 0.1597 | 0.1638 | 0.1689 | 0.1718 | 0.1784 | 0.1969 | 0.1818 | 0.1828 | 0.1848 | 0.1592 | 0.1551 | 0.1533 | 0.1562 | 0.1585 | 0.1665 | 0.1694 | 0.1768 | 0.1756 | 0.1802 | 0.1829 | 0.1892 | 0.1543 | 0.1519 | 0.1527 | 0.153 | 0.1549 | 0.1622 | 0.1673 | 0.1668 | 0.1695 | 0.177 | 0.1752 | 0.183 | 0.1572 | 0.1539 | 0.1542 | 0.1513 | 0.1559 | 0.153 | 0.1645 | 0.1708 | 0.1717 | 0.1727 | 0.1743 | 0.1774 | 0.1528 | 0.1484 | 0.1483 | 0.1475 | 0.1473 | 0.1523 | 0.1562 | 0.1636 | 0.1645 | 0.2111 | 0.1672 | 0.1743 | 0.1608 | 0.1548 | 0.1594 | 0.1658 | 0.158 | 0.159 | 0.1571 | 0.1641 | 0.1644 | 0.1726 | 0.1579 | 0.3458 | 0.1561 | 0.1535 | 0.1545 | 0.1532 | 0.3433 | 0.1656 | 0.1584 | 0.1601 | 0.1583 | 0.1619 | 0.1603 | 0.167
6 | 6114.389 | 37.2 | 0.2164 | 0.2139 | 0.201 | 0.2146 | 0.2302 | 0.2484 | 0.2136 | 0.2285 | 0.2532 | 0.2589 | 0.2507 | 0.2502 | 0.1987 | 0.1988 | 0.1959 | 0.1982 | 0.2047 | 0.2126 | 0.22 | 0.2303 | 0.2573 | 0.2346 | 0.2345 | 0.2405 | 0.1945 | 0.1891 | 0.1857 | 0.1919 | 0.1961 | 0.2072 | 0.2139 | 0.2231 | 0.2227 | 0.2294 | 0.2323 | 0.2428 | 0.1903 | 0.1859 | 0.1881 | 0.189 | 0.1929 | 0.2027 | 0.2127 | 0.212 | 0.2155 | 0.2265 | 0.2233 | 0.2352 | 0.1948 | 0.1898 | 0.1917 | 0.1881 | 0.1939 | 0.1917 | 0.2027 | 0.2135 | 0.2159 | 0.2162 | 0.2168 | 0.2232 | 0.1865 | 0.1815 | 0.1801 | 0.1809 | 0.1797 | 0.188 | 0.1936 | 0.2049 | 0.2056 | 0.2731 | 0.2096 | 0.2211 | 0.2005 | 0.1921 | 0.1998 | 0.2106 | 0.1995 | 0.1995 | 0.1939 | 0.2052 | 0.2055 | 0.2151 | 0.196 | 0.4243 | 0.1919 | 0.1889 | 0.1885 | 0.1886 | 0.4131 | 0.2065 | 0.1965 | 0.198 | 0.1951 | 0.2004 | 0.1994 | 0.2094
7 | 7337.059 | 37 | 0.2841 | 0.2817 | 0.2579 | 0.2845 | 0.3054 | 0.3281 | 0.2816 | 0.3035 | 0.3327 | 0.3331 | 0.3265 | 0.3219 | 0.255 | 0.2552 | 0.2496 | 0.2551 | 0.2645 | 0.2769 | 0.2898 | 0.3028 | 0.3298 | 0.3061 | 0.3069 | 0.3137 | 0.2439 | 0.2378 | 0.2317 | 0.244 | 0.2517 | 0.2682 | 0.2793 | 0.2906 | 0.29 | 0.2953 | 0.3025 | 0.3123 | 0.2419 | 0.2356 | 0.2413 | 0.2434 | 0.2517 | 0.2657 | 0.2796 | 0.279 | 0.2818 | 0.297 | 0.2921 | 0.3087 | 0.2466 | 0.2402 | 0.2461 | 0.2409 | 0.2495 | 0.2472 | 0.2588 | 0.2759 | 0.2792 | 0.2797 | 0.2789 | 0.2893 | 0.2347 | 0.2294 | 0.2279 | 0.2277 | 0.226 | 0.2399 | 0.2479 | 0.2655 | 0.2657 | 0.3443 | 0.2727 | 0.2901 | 0.256 | 0.2443 | 0.2563 | 0.2731 | 0.2576 | 0.2578 | 0.2479 | 0.2666 | 0.2653 | 0.2791 | 0.2533 | 0.4922 | 0.2435 | 0.2396 | 0.2368 | 0.3053 | 0.4866 | 0.2602 | 0.2503 | 0.2532 | 0.2489 | 0.257 | 0.2562 | 0.2723
8 | 8559.683 | 37.1 | 0.3563 | 0.3539 | 0.3187 | 0.3602 | 0.3811 | 0.407 | 0.3581 | 0.3795 | 0.4113 | 0.4145 | 0.4041 | 0.3997 | 0.3162 | 0.317 | 0.3056 | 0.3181 | 0.328 | 0.3428 | 0.3619 | 0.374 | 0.4081 | 0.3753 | 0.3752 | 0.3871 | 0.3 | 0.2995 | 0.2797 | 0.3061 | 0.3133 | 0.3332 | 0.3478 | 0.3587 | 0.3584 | 0.364 | 0.3725 | 0.3809 | 0.3131 | 0.3044 | 0.3014 | 0.3164 | 0.327 | 0.3374 | 0.3509 | 0.3499 | 0.3513 | 0.3704 | 0.3634 | 0.3799 | 0.318 | 0.3108 | 0.3087 | 0.3155 | 0.3251 | 0.323 | 0.3219 | 0.3402 | 0.3451 | 0.3459 | 0.343 | 0.3551 | 0.3022 | 0.294 | 0.2869 | 0.2965 | 0.292 | 0.3098 | 0.3165 | 0.3324 | 0.333 | 0.4264 | 0.3418 | 0.3629 | 0.3268 | 0.3115 | 0.3152 | 0.3397 | 0.327 | 0.3246 | 0.3184 | 0.3376 | 0.3331 | 0.3499 | 0.3261 | 0.5564 | 0.3153 | 0.3096 | 0.3243 | 0.3553 | 0.5875 | 0.3176 | 0.3232 | 0.327 | 0.3199 | 0.3272 | 0.3271 | 0.3432
9 | 9782.368 | 37 | 0.4287 | 0.4249 | 0.3735 | 0.4327 | 0.4531 | 0.4796 | 0.4325 | 0.4485 | 0.4809 | 0.4789 | 0.4732 | 0.4628 | 0.3824 | 0.3866 | 0.3594 | 0.3871 | 0.394 | 0.4057 | 0.4279 | 0.4384 | 0.4719 | 0.4367 | 0.4372 | 0.4516 | 0.3607 | 0.3604 | 0.3241 | 0.3746 | 0.3832 | 0.3984 | 0.4148 | 0.4219 | 0.4213 | 0.4263 | 0.4337 | 0.4392 | 0.3859 | 0.3739 | 0.3702 | 0.3854 | 0.3991 | 0.4125 | 0.4237 | 0.4209 | 0.4174 | 0.4334 | 0.4276 | 0.4406 | 0.3901 | 0.38 | 0.3778 | 0.3856 | 0.3951 | 0.3903 | 0.3919 | 0.4071 | 0.4094 | 0.4068 | 0.404 | 0.4145 | 0.3735 | 0.3609 | 0.3495 | 0.3678 | 0.3596 | 0.3808 | 0.3868 | 0.4118 | 0.4087 | 0.4901 | 0.4161 | 0.4308 | 0.3953 | 0.3783 | 0.376 | 0.418 | 0.3962 | 0.3919 | 0.3859 | 0.4174 | 0.4102 | 0.429 | 0.398 | 0.6311 | 0.3859 | 0.3801 | 0.3657 | 0.4051 | 0.6951 | 0.3767 | 0.3888 | 0.3952 | 0.3852 | 0.3983 | 0.3971 | 0.4175
10 | 11005.104 | 37 | 0.5173 | 0.5137 | 0.4487 | 0.5226 | 0.5478 | 0.5776 | 0.5148 | 0.5409 | 0.5803 | 0.5731 | 0.5717 | 0.5609 | 0.4426 | 0.4478 | 0.4237 | 0.4512 | 0.4601 | 0.4853 | 0.5047 | 0.5239 | 0.5621 | 0.5199 | 0.5193 | 0.5413 | 0.4161 | 0.4256 | 0.3793 | 0.4376 | 0.4509 | 0.4758 | 0.4874 | 0.5014 | 0.5014 | 0.5117 | 0.5189 | 0.5263 | 0.4553 | 0.4394 | 0.424 | 0.4507 | 0.4685 | 0.481 | 0.4943 | 0.4905 | 0.4879 | 0.5155 | 0.5083 | 0.528 | 0.4627 | 0.4484 | 0.4321 | 0.4521 | 0.4624 | 0.4546 | 0.4498 | 0.4832 | 0.481 | 0.4879 | 0.4794 | 0.4914 | 0.449 | 0.4296 | 0.402 | 0.4351 | 0.4254 | 0.448 | 0.451 | 0.4773 | 0.4701 | 0.5862 | 0.4854 | 0.5062 | 0.4614 | 0.4454 | 0.432 | 0.4795 | 0.4613 | 0.4542 | 0.4508 | 0.4832 | 0.4751 | 0.4971 | 0.4657 | 0.724 | 0.4528 | 0.4468 | 0.4104 | 0.4788 | 0.8056 | 0.4429 | 0.4511 | 0.4593 | 0.4491 | 0.4604 | 0.4613 | 0.4806
11 | 12227.708 | 37.3 | 0.6265 | 0.6227 | 0.5454 | 0.6313 | 0.6612 | 0.6946 | 0.6203 | 0.6556 | 0.6949 | 0.6899 | 0.6885 | 0.6745 | 0.5267 | 0.5431 | 0.5127 | 0.5482 | 0.5532 | 0.5845 | 0.6067 | 0.6263 | 0.671 | 0.6276 | 0.6236 | 0.6472 | 0.5024 | 0.5136 | 0.4618 | 0.5272 | 0.5415 | 0.5636 | 0.5899 | 0.6051 | 0.6046 | 0.6206 | 0.6226 | 0.6351 | 0.536 | 0.517 | 0.5069 | 0.5365 | 0.5582 | 0.5723 | 0.59 | 0.5867 | 0.5826 | 0.6212 | 0.6117 | 0.6391 | 0.5479 | 0.5276 | 0.5157 | 0.5387 | 0.5527 | 0.5454 | 0.5376 | 0.5811 | 0.5798 | 0.5913 | 0.5765 | 0.5939 | 0.5262 | 0.4997 | 0.476 | 0.5149 | 0.505 | 0.533 | 0.5343 | 0.5711 | 0.5585 | 0.7041 | 0.5824 | 0.6091 | 0.5427 | 0.5258 | 0.5123 | 0.5691 | 0.5466 | 0.5351 | 0.533 | 0.5752 | 0.565 | 0.5886 | 0.5541 | 0.8341 | 0.536 | 0.5254 | 0.5129 | 0.5231 | 0.9281 | 0.5276 | 0.5353 | 0.5458 | 0.5343 | 0.5477 | 0.5469 | 0.5741
12 | 13450.294 | 37 | 0.75 | 0.7459 | 0.6543 | 0.7543 | 0.7854 | 0.8193 | 0.7416 | 0.7761 | 0.8163 | 0.8133 | 0.8129 | 0.7966 | 0.6352 | 0.6506 | 0.6153 | 0.6542 | 0.6686 | 0.7034 | 0.7274 | 0.743 | 0.7876 | 0.7465 | 0.7453 | 0.7679 | 0.6093 | 0.619 | 0.5553 | 0.6335 | 0.6575 | 0.6755 | 0.7059 | 0.7235 | 0.7207 | 0.7397 | 0.7388 | 0.755 | 0.6457 | 0.615 | 0.6128 | 0.6466 | 0.674 | 0.6877 | 0.7074 | 0.7032 | 0.6954 | 0.7422 | 0.7287 | 0.761 | 0.6549 | 0.6318 | 0.6214 | 0.6424 | 0.6607 | 0.6514 | 0.6415 | 0.6935 | 0.6995 | 0.7107 | 0.6928 | 0.7177 | 0.624 | 0.5974 | 0.5732 | 0.6187 | 0.6101 | 0.6384 | 0.643 | 0.6886 | 0.671 | 0.8241 | 0.7011 | 0.7294 | 0.6477 | 0.6295 | 0.6175 | 0.6814 | 0.6579 | 0.6402 | 0.6389 | 0.6873 | 0.6782 | 0.7059 | 0.6668 | 0.9448 | 0.6424 | 0.6291 | 0.6046 | 0.6243 | 1.0038 | 0.6312 | 0.6422 | 0.6552 | 0.6428 | 0.6584 | 0.6574 | 0.6904
13 | 14673.042 | 37.2 | 0.8787 | 0.8766 | 0.7793 | 0.8784 | 0.9116 | 0.9467 | 0.867 | 0.9029 | 0.9404 | 0.9368 | 0.9426 | 0.9226 | 0.7588 | 0.7772 | 0.7373 | 0.7783 | 0.7908 | 0.834 | 0.8477 | 0.863 | 0.9057 | 0.866 | 0.8629 | 0.8923 | 0.7273 | 0.7449 | 0.675 | 0.7643 | 0.7889 | 0.8113 | 0.8352 | 0.8494 | 0.8511 | 0.8646 | 0.8636 | 0.8818 | 0.777 | 0.7348 | 0.7362 | 0.7695 | 0.7974 | 0.8115 | 0.8302 | 0.8248 | 0.8136 | 0.8719 | 0.8566 | 0.8941 | 0.7844 | 0.7536 | 0.7435 | 0.7653 | 0.7834 | 0.7719 | 0.7624 | 0.8205 | 0.8285 | 0.8411 | 0.8154 | 0.8457 | 0.7472 | 0.7162 | 0.6857 | 0.7385 | 0.7249 | 0.7534 | 0.7609 | 0.8102 | 0.793 | 0.9541 | 0.8282 | 0.8612 | 0.7723 | 0.7479 | 0.7375 | 0.8052 | 0.7867 | 0.7566 | 0.7578 | 0.813 | 0.8019 | 0.8321 | 0.7904 | 1.0695 | 0.7745 | 0.7546 | 0.722 | 0.7414 | 1.0398 | 0.7458 | 0.7627 | 0.7784 | 0.7623 | 0.7799 | 0.7794 | 0.8153
14 | 15895.689 | 37.2 | 1.0047 | 1.0028 | 0.8876 | 1.0073 | 1.0362 | 1.0637 | 0.9942 | 1.0277 | 1.0574 | 1.0479 | 1.0614 | 1.0297 | 0.8925 | 0.9062 | 0.8718 | 0.9077 | 0.9168 | 0.9578 | 0.9788 | 0.9868 | 1.0211 | 0.9907 | 0.9874 | 1.0152 | 0.8628 | 0.8788 | 0.8114 | 0.8986 | 0.9223 | 0.9415 | 0.9633 | 0.9752 | 0.9724 | 0.9876 | 0.9885 | 1.0009 | 0.9123 | 0.8613 | 0.8675 | 0.9028 | 0.9261 | 0.9387 | 0.9586 | 0.9507 | 0.9405 | 0.9919 | 0.9785 | 1.0196 | 0.9218 | 0.8854 | 0.8752 | 0.8979 | 0.916 | 0.8981 | 0.8886 | 0.9491 | 0.9586 | 0.9687 | 0.9436 | 0.9766 | 0.8803 | 0.8451 | 0.8125 | 0.8687 | 0.8507 | 0.8832 | 0.8871 | 0.9436 | 0.9216 | 1.0658 | 0.9564 | 0.9915 | 0.9077 | 0.8753 | 0.8714 | 0.9368 | 0.9212 | 0.8823 | 0.8825 | 0.9405 | 0.9281 | 0.9622 | 0.9217 | 1.1705 | 0.9053 | 0.8848 | 0.8554 | 0.8806 | 1.0688 | 0.8676 | 0.891 | 0.9102 | 0.8922 | 0.9117 | 0.9117 | 0.9472
15 | 17118.215 | 37 | 1.0802 | 1.0853 | 0.9456 | 1.0967 | 1.1125 | 1.1273 | 1.0956 | 1.1145 | 1.1246 | 1.106 | 1.1257 | 1.0901 | 1.0262 | 1.0378 | 0.961 | 1.0323 | 1.0306 | 1.0617 | 1.0879 | 1.0862 | 1.0879 | 1.0832 | 1.0875 | 1.0863 | 1.0001 | 1.0178 | 0.8904 | 1.0264 | 1.0434 | 1.0522 | 1.0802 | 1.0883 | 1.0704 | 1.0734 | 1.085 | 1.0707 | 1.044 | 0.9885 | 0.9757 | 1.026 | 1.0534 | 1.0617 | 1.0764 | 1.0672 | 1.0546 | 1.089 | 1.0827 | 1.099 | 1.057 | 1.0204 | 0.9877 | 1.0271 | 1.0372 | 1.0262 | 1.0152 | 1.0677 | 1.0758 | 1.0644 | 1.0523 | 1.0674 | 1.0118 | 0.9752 | 0.9359 | 0.9962 | 0.9754 | 1.0095 | 1.0168 | 1.0659 | 1.0478 | 1.1226 | 1.0731 | 1.0957 | 1.0452 | 1.0132 | 0.9711 | 1.0636 | 1.0544 | 1.0078 | 1.0127 | 1.0651 | 1.0525 | 1.0821 | 1.0455 | 1.2196 | 1.0434 | 1.0206 | 0.9642 | 1.0228 | 1.0983 | 1.0039 | 1.0257 | 1.0419 | 1.0218 | 1.0384 | 1.0373 | 1.066
16 | 18340.919 | 37.1 | 1.1294 | 1.1373 | 0.9858 | 1.1499 | 1.161 | 1.1699 | 1.1545 | 1.1687 | 1.1719 | 1.1486 | 1.1708 | 1.1291 | 1.1016 | 1.1105 | 1.0117 | 1.1047 | 1.0995 | 1.1219 | 1.1513 | 1.142 | 1.1255 | 1.1402 | 1.1466 | 1.1347 | 1.0822 | 1.1041 | 0.9438 | 1.0991 | 1.1105 | 1.1122 | 1.1446 | 1.1451 | 1.1235 | 1.1261 | 1.1411 | 1.1149 | 1.1534 | 1.1052 | 1.0257 | 1.1249 | 1.1349 | 1.1316 | 1.1446 | 1.1321 | 1.1182 | 1.1436 | 1.1375 | 1.1476 | 1.1707 | 1.142 | 1.039 | 1.1386 | 1.1362 | 1.1351 | 1.0966 | 1.1331 | 1.1418 | 1.1211 | 1.1128 | 1.1195 | 1.1272 | 1.0993 | 0.9906 | 1.1081 | 1.0822 | 1.1072 | 1.0966 | 1.1256 | 1.114 | 1.1592 | 1.1376 | 1.1478 | 1.1461 | 1.116 | 1.0199 | 1.1272 | 1.1361 | 1.1015 | 1.099 | 1.1353 | 1.1248 | 1.1459 | 1.1236 | 1.2482 | 1.1424 | 1.1224 | 1.0146 | 1.1288 | 1.1265 | 1.0728 | 1.1173 | 1.1246 | 1.1139 | 1.1071 | 1.1133 | 1.1234
17 | 19563.479 | 37 | 1.1597 | 1.1687 | 1.0231 | 1.1774 | 1.1808 | 1.1901 | 1.1885 | 1.1964 | 1.195 | 1.168 | 1.1887 | 1.1485 | 1.1421 | 1.1501 | 1.0561 | 1.1415 | 1.1308 | 1.1535 | 1.1756 | 1.1626 | 1.1462 | 1.1585 | 1.1691 | 1.1559 | 1.1306 | 1.1529 | 0.9901 | 1.1429 | 1.1522 | 1.1495 | 1.1695 | 1.1661 | 1.1524 | 1.1476 | 1.1688 | 1.1411 | 1.2042 | 1.1595 | 1.0669 | 1.1733 | 1.1795 | 1.1676 | 1.1772 | 1.1631 | 1.1472 | 1.1699 | 1.1629 | 1.1746 | 1.2187 | 1.1997 | 1.0794 | 1.1911 | 1.1826 | 1.1854 | 1.1407 | 1.1682 | 1.1787 | 1.1544 | 1.1459 | 1.1514 | 1.1759 | 1.1592 | 1.0343 | 1.1618 | 1.1302 | 1.153 | 1.1365 | 1.1637 | 1.1491 | 1.1813 | 1.1729 | 1.1822 | 1.1941 | 1.165 | 1.0658 | 1.1645 | 1.1745 | 1.1457 | 1.145 | 1.1796 | 1.1669 | 1.1876 | 1.1726 | 1.2805 | 1.1834 | 1.1728 | 1.0626 | 1.1837 | 1.1553 | 1.111 | 1.1623 | 1.17 | 1.1639 | 1.1475 | 1.1536 | 1.1617
18 | 20786.206 | 37.1 | 1.1906 | 1.1996 | 1.0606 | 1.2048 | 1.2062 | 1.2159 | 1.2083 | 1.2198 | 1.2185 | 1.19 | 1.2114 | 1.1748 | 1.1754 | 1.1794 | 1.0946 | 1.1672 | 1.1562 | 1.1825 | 1.1986 | 1.1877 | 1.173 | 1.1833 | 1.1916 | 1.1802 | 1.1669 | 1.1874 | 1.0351 | 1.1746 | 1.1852 | 1.1876 | 1.1982 | 1.1984 | 1.1882 | 1.1749 | 1.2022 | 1.1734 | 1.2387 | 1.1902 | 1.1054 | 1.1947 | 1.202 | 1.1883 | 1.2029 | 1.1873 | 1.1703 | 1.1945 | 1.1935 | 1.2032 | 1.2506 | 1.233 | 1.1168 | 1.2153 | 1.2031 | 1.2078 | 1.1664 | 1.1958 | 1.2072 | 1.1827 | 1.1756 | 1.1795 | 1.2139 | 1.1941 | 1.0763 | 1.188 | 1.1649 | 1.188 | 1.1685 | 1.2005 | 1.1827 | 1.2126 | 1.2052 | 1.2089 | 1.2295 | 1.2005 | 1.1087 | 1.1993 | 1.2029 | 1.1751 | 1.1767 | 1.2062 | 1.1917 | 1.2117 | 1.1959 | 1.309 | 1.2262 | 1.21 | 1.1051 | 1.2116 | 1.1725 | 1.1471 | 1.1925 | 1.1977 | 1.1908 | 1.1815 | 1.1834 | 1.193
19 | 22008.821 | 37.2 | 1.2198 | 1.2293 | 1.0939 | 1.233 | 1.2316 | 1.2432 | 1.2368 | 1.2488 | 1.2434 | 1.2171 | 1.2376 | 1.204 | 1.2104 | 1.2111 | 1.1336 | 1.1994 | 1.1894 | 1.2134 | 1.2274 | 1.2178 | 1.1978 | 1.2134 | 1.2228 | 1.2109 | 1.2052 | 1.2218 | 1.0731 | 1.2091 | 1.2169 | 1.2216 | 1.231 | 1.2304 | 1.222 | 1.2042 | 1.2347 | 1.205 | 1.2695 | 1.222 | 1.1451 | 1.2263 | 1.2348 | 1.2235 | 1.2352 | 1.2234 | 1.2018 | 1.2237 | 1.2259 | 1.2322 | 1.2829 | 1.2649 | 1.1531 | 1.245 | 1.2316 | 1.233 | 1.201 | 1.229 | 1.2385 | 1.2159 | 1.2081 | 1.2144 | 1.2448 | 1.2251 | 1.1144 | 1.2192 | 1.1997 | 1.2233 | 1.202 | 1.2361 | 1.2152 | 1.2406 | 1.2392 | 1.239 | 1.2591 | 1.2371 | 1.1399 | 1.2328 | 1.2331 | 1.2046 | 1.2113 | 1.2383 | 1.2244 | 1.2441 | 1.2231 | 1.3376 | 1.2656 | 1.2441 | 1.142 | 1.2446 | 1.1894 | 1.1804 | 1.2236 | 1.2277 | 1.2232 | 1.2116 | 1.2128 | 1.2272
20 | 23231.478 | 37 | 1.2486 | 1.2592 | 1.1215 | 1.2555 | 1.2532 | 1.2658 | 1.2603 | 1.2685 | 1.2654 | 1.2387 | 1.2631 | 1.2297 | 1.2497 | 1.2465 | 1.1663 | 1.2333 | 1.2239 | 1.2483 | 1.2527 | 1.2426 | 1.2197 | 1.2389 | 1.2474 | 1.2393 | 1.2419 | 1.2595 | 1.1089 | 1.2455 | 1.2525 | 1.2582 | 1.2619 | 1.2552 | 1.2592 | 1.2354 | 1.2696 | 1.2337 | 1.299 | 1.253 | 1.1727 | 1.2551 | 1.2623 | 1.2536 | 1.2679 | 1.2534 | 1.2304 | 1.2537 | 1.2602 | 1.2619 | 1.313 | 1.2986 | 1.1823 | 1.2756 | 1.2618 | 1.266 | 1.2368 | 1.2642 | 1.2692 | 1.2497 | 1.242 | 1.2457 | 1.2776 | 1.261 | 1.1454 | 1.2492 | 1.2368 | 1.2592 | 1.237 | 1.2722 | 1.2509 | 1.2647 | 1.2723 | 1.2695 | 1.2954 | 1.2756 | 1.1735 | 1.2657 | 1.2673 | 1.2377 | 1.2479 | 1.2697 | 1.2554 | 1.2751 | 1.2507 | 1.3616 | 1.2988 | 1.2773 | 1.173 | 1.277 | 1.2177 | 1.2159 | 1.2578 | 1.263 | 1.2559 | 1.2459 | 1.246 | 1.2567
21 | 24453.983 | 37.1 | 1.2714 | 1.2823 | 1.1491 | 1.2803 | 1.2746 | 1.2859 | 1.2847 | 1.2913 | 1.2847 | 1.2547 | 1.2843 | 1.2531 | 1.2799 | 1.2788 | 1.202 | 1.2663 | 1.2565 | 1.2762 | 1.2778 | 1.2674 | 1.244 | 1.2632 | 1.2716 | 1.2631 | 1.27 | 1.2903 | 1.1388 | 1.2773 | 1.2842 | 1.2902 | 1.2905 | 1.2793 | 1.2883 | 1.2605 | 1.2952 | 1.2591 | 1.3272 | 1.2875 | 1.2014 | 1.2871 | 1.2945 | 1.2832 | 1.2983 | 1.2822 | 1.2581 | 1.2785 | 1.2887 | 1.2885 | 1.34 | 1.3331 | 1.2086 | 1.3061 | 1.2899 | 1.2893 | 1.271 | 1.2957 | 1.2982 | 1.2786 | 1.2709 | 1.2741 | 1.3011 | 1.2937 | 1.1745 | 1.2823 | 1.2737 | 1.2912 | 1.2711 | 1.3041 | 1.2836 | 1.2875 | 1.3008 | 1.2943 | 1.3207 | 1.3069 | 1.2038 | 1.2923 | 1.2958 | 1.2697 | 1.2815 | 1.3012 | 1.285 | 1.3012 | 1.279 | 1.3794 | 1.3256 | 1.3082 | 1.2075 | 1.316 | 1.2212 | 1.2449 | 1.2886 | 1.2943 | 1.2909 | 1.2749 | 1.2753 | 1.2855
22 | 25676.604 | 36.9 | 1.2916 | 1.3029 | 1.1685 | 1.2995 | 1.2945 | 1.3051 | 1.3036 | 1.3092 | 1.3039 | 1.2714 | 1.3016 | 1.2712 | 1.3067 | 1.3066 | 1.2227 | 1.2939 | 1.2839 | 1.3023 | 1.3017 | 1.2895 | 1.2639 | 1.2853 | 1.2941 | 1.2841 | 1.2984 | 1.3203 | 1.1432 | 1.305 | 1.3114 | 1.3181 | 1.3153 | 1.3033 | 1.3139 | 1.2829 | 1.3208 | 1.2809 | 1.3506 | 1.3144 | 1.2293 | 1.3118 | 1.3221 | 1.3091 | 1.3232 | 1.3061 | 1.2843 | 1.3015 | 1.3161 | 1.3097 | 1.3639 | 1.3632 | 1.2369 | 1.3346 | 1.3183 | 1.3161 | 1.3002 | 1.3225 | 1.3241 | 1.3015 | 1.2955 | 1.2976 | 1.3236 | 1.3224 | 1.2032 | 1.3078 | 1.3032 | 1.3193 | 1.2983 | 1.3287 | 1.3093 | 1.3036 | 1.3278 | 1.3172 | 1.3446 | 1.3358 | 1.2161 | 1.3171 | 1.3197 | 1.3 | 1.3104 | 1.3285 | 1.3108 | 1.3239 | 1.3021 | 1.3981 | 1.3512 | 1.3351 | 1.2157 | 1.3417 | 1.2134 | 1.267 | 1.3143 | 1.3212 | 1.3165 | 1.2995 | 1.3015 | 1.3063
23 | 26899.149 | 37.1 | 1.3128 | 1.3253 | 1.1739 | 1.3177 | 1.3104 | 1.3211 | 1.3229 | 1.3272 | 1.32 | 1.2848 | 1.3181 | 1.2919 | 1.3358 | 1.3333 | 1.2246 | 1.3167 | 1.3093 | 1.3272 | 1.3232 | 1.3094 | 1.2795 | 1.3043 | 1.3158 | 1.3033 | 1.3264 | 1.3442 | 1.1468 | 1.328 | 1.3342 | 1.3487 | 1.3349 | 1.325 | 1.3391 | 1.3018 | 1.3517 | 1.3086 | 1.3687 | 1.336 | 1.2291 | 1.3327 | 1.3431 | 1.3305 | 1.3441 | 1.3269 | 1.3073 | 1.32 | 1.3348 | 1.3283 | 1.3815 | 1.3832 | 1.2421 | 1.3532 | 1.3365 | 1.3346 | 1.3219 | 1.3424 | 1.3445 | 1.3279 | 1.3172 | 1.3249 | 1.3434 | 1.3451 | 1.2028 | 1.328 | 1.3289 | 1.3455 | 1.3195 | 1.3621 | 1.3397 | 1.3208 | 1.3491 | 1.3342 | 1.3656 | 1.3715 | 1.2188 | 1.3468 | 1.3429 | 1.3205 | 1.3366 | 1.3506 | 1.3311 | 1.3425 | 1.3217 | 1.4278 | 1.38 | 1.3613 | 1.2215 | 1.366 | 1.2084 | 1.2933 | 1.3356 | 1.3417 | 1.3368 | 1.3198 | 1.3226 | 1.3338
24 | 28121.79 | 37.2 | 1.326 | 1.3452 | 1.1776 | 1.3384 | 1.3308 | 1.3411 | 1.342 | 1.3467 | 1.336 | 1.3033 | 1.3381 | 1.3006 | 1.3523 | 1.3523 | 1.229 | 1.3449 | 1.3341 | 1.35 | 1.3421 | 1.3304 | 1.3029 | 1.3253 | 1.3306 | 1.3238 | 1.3378 | 1.3704 | 1.1502 | 1.3572 | 1.3605 | 1.3655 | 1.3636 | 1.3485 | 1.3633 | 1.329 | 1.3684 | 1.3246 | 1.3886 | 1.3567 | 1.2341 | 1.3512 | 1.3644 | 1.3499 | 1.3648 | 1.3447 | 1.3267 | 1.3404 | 1.3632 | 1.3517 | 1.4064 | 1.4042 | 1.2448 | 1.3703 | 1.3518 | 1.3525 | 1.3531 | 1.3731 | 1.3765 | 1.3513 | 1.351 | 1.344 | 1.3602 | 1.3741 | 1.2052 | 1.3551 | 1.3532 | 1.3728 | 1.3515 | 1.3768 | 1.3644 | 1.3436 | 1.3781 | 1.3615 | 1.3891 | 1.3875 | 1.2217 | 1.3577 | 1.3673 | 1.3501 | 1.3671 | 1.3788 | 1.3571 | 1.3685 | 1.3365 | 1.4363 | 1.3908 | 1.3844 | 1.2258 | 1.3951 | 1.203 | 1.3106 | 1.3656 | 1.3697 | 1.3634 | 1.3479 | 1.3484 | 1.3544
25 | 29344.463 | 37.1 | 1.3335 | 1.3482 | 1.178 | 1.351 | 1.3423 | 1.3525 | 1.3592 | 1.3607 | 1.3536 | 1.3063 | 1.3484 | 1.3057 | 1.3565 | 1.3578 | 1.231 | 1.3561 | 1.344 | 1.359 | 1.3632 | 1.3475 | 1.3154 | 1.3404 | 1.3535 | 1.3348 | 1.3375 | 1.3777 | 1.1515 | 1.3685 | 1.3707 | 1.3672 | 1.3765 | 1.3687 | 1.3716 | 1.3428 | 1.3686 | 1.3235 | 1.4075 | 1.3821 | 1.237 | 1.3745 | 1.388 | 1.3748 | 1.3884 | 1.372 | 1.3544 | 1.3601 | 1.3776 | 1.3596 | 1.4198 | 1.4281 | 1.2492 | 1.3966 | 1.3797 | 1.3777 | 1.3669 | 1.385 | 1.3912 | 1.3541 | 1.3609 | 1.3429 | 1.3784 | 1.3877 | 1.2081 | 1.3696 | 1.3603 | 1.3784 | 1.3568 | 1.3802 | 1.3656 | 1.3459 | 1.3808 | 1.3653 | 1.3935 | 1.39 | 1.224 | 1.3589 | 1.3715 | 1.3642 | 1.374 | 1.3932 | 1.3772 | 1.3826 | 1.3626 | 1.4338 | 1.3937 | 1.3888 | 1.2266 | 1.4027 | 1.1964 | 1.3116 | 1.3773 | 1.3817 | 1.3809 | 1.3566 | 1.3632 | 1.3554
26 | 30567.108 | 37.1 | 1.336 | 1.349 | 1.1786 | 1.3549 | 1.3447 | 1.3552 | 1.3669 | 1.3683 | 1.362 | 1.3058 | 1.3466 | 1.3061 | 1.3625 | 1.3627 | 1.2335 | 1.3588 | 1.3467 | 1.3615 | 1.3681 | 1.3507 | 1.317 | 1.3439 | 1.3602 | 1.3364 | 1.3425 | 1.3824 | 1.153 | 1.3726 | 1.3733 | 1.3715 | 1.3775 | 1.3743 | 1.3736 | 1.3429 | 1.3701 | 1.3255 | 1.4133 | 1.3901 | 1.2386 | 1.3839 | 1.3975 | 1.3847 | 1.3957 | 1.3809 | 1.3625 | 1.3643 | 1.3799 | 1.3608 | 1.4262 | 1.4359 | 1.2524 | 1.4058 | 1.3902 | 1.3927 | 1.3686 | 1.3862 | 1.391 | 1.3547 | 1.3615 | 1.3427 | 1.3823 | 1.3896 | 1.2092 | 1.3683 | 1.363 | 1.38 | 1.3589 | 1.3837 | 1.3679 | 1.345 | 1.383 | 1.3667 | 1.3981 | 1.3962 | 1.2251 | 1.3625 | 1.3739 | 1.366 | 1.3761 | 1.3932 | 1.3778 | 1.3798 | 1.3689 | 1.4363 | 1.3994 | 1.3939 | 1.2288 | 1.4067 | 1.1899 | 1.313 | 1.3801 | 1.3841 | 1.3815 | 1.3582 | 1.3637 | 1.3575
27 | 31789.759 | 37 | 1.3362 | 1.3497 | 1.1797 | 1.3549 | 1.3433 | 1.3547 | 1.3652 | 1.3658 | 1.3607 | 1.3049 | 1.3481 | 1.3066 | 1.3662 | 1.3657 | 1.2326 | 1.3622 | 1.3505 | 1.3642 | 1.3677 | 1.3516 | 1.3173 | 1.3437 | 1.3594 | 1.338 | 1.3442 | 1.3858 | 1.1532 | 1.3772 | 1.3762 | 1.3741 | 1.3802 | 1.376 | 1.3748 | 1.3462 | 1.3723 | 1.3278 | 1.4176 | 1.395 | 1.2385 | 1.3869 | 1.4007 | 1.387 | 1.4 | 1.383 | 1.364 | 1.3656 | 1.3797 | 1.3612 | 1.4297 | 1.4384 | 1.252 | 1.406 | 1.3907 | 1.3914 | 1.372 | 1.3908 | 1.3934 | 1.3578 | 1.3653 | 1.3453 | 1.3872 | 1.3948 | 1.2115 | 1.373 | 1.3685 | 1.382 | 1.3617 | 1.3863 | 1.3698 | 1.3439 | 1.3842 | 1.3692 | 1.4019 | 1.4003 | 1.2245 | 1.3634 | 1.3765 | 1.37 | 1.3792 | 1.3958 | 1.3809 | 1.3809 | 1.3676 | 1.4386 | 1.4024 | 1.3979 | 1.2265 | 1.4119 | 1.183 | 1.3143 | 1.384 | 1.3891 | 1.3856 | 1.3609 | 1.3678 | 1.3613
28 | 33012.405 | 37 | 1.3391 | 1.353 | 1.181 | 1.3574 | 1.345 | 1.3576 | 1.3686 | 1.3675 | 1.3646 | 1.3068 | 1.3517 | 1.3102 | 1.3687 | 1.3676 | 1.2336 | 1.3653 | 1.3529 | 1.3665 | 1.3695 | 1.3528 | 1.3176 | 1.3466 | 1.3626 | 1.3412 | 1.3458 | 1.39 | 1.1532 | 1.3822 | 1.3811 | 1.377 | 1.3831 | 1.3803 | 1.3789 | 1.3501 | 1.3747 | 1.3295 | 1.4218 | 1.3992 | 1.238 | 1.3916 | 1.4042 | 1.3906 | 1.4029 | 1.3862 | 1.3671 | 1.3691 | 1.3833 | 1.3641 | 1.4337 | 1.4432 | 1.2516 | 1.4099 | 1.3924 | 1.3916 | 1.3748 | 1.3943 | 1.4068 | 1.373 | 1.3695 | 1.3479 | 1.3899 | 1.3974 | 1.2099 | 1.3746 | 1.3718 | 1.3849 | 1.3677 | 1.3908 | 1.3758 | 1.3449 | 1.3863 | 1.3687 | 1.4053 | 1.4037 | 1.2254 | 1.3653 | 1.3791 | 1.3744 | 1.3821 | 1.3996 | 1.386 | 1.3835 | 1.3684 | 1.4389 | 1.404 | 1.4011 | 1.228 | 1.4175 | 1.1784 | 1.3164 | 1.3891 | 1.3947 | 1.39 | 1.3651 | 1.3706 | 1.3612
29 | 34235.08 | 37.1 | 1.3385 | 1.3525 | 1.1783 | 1.3559 | 1.3443 | 1.358 | 1.3651 | 1.3671 | 1.3658 | 1.305 | 1.3507 | 1.3095 | 1.3701 | 1.3693 | 1.2326 | 1.3682 | 1.3557 | 1.3681 | 1.3702 | 1.3532 | 1.3169 | 1.3461 | 1.3628 | 1.3399 | 1.3465 | 1.392 | 1.1519 | 1.3842 | 1.3828 | 1.3789 | 1.3856 | 1.3845 | 1.3798 | 1.3526 | 1.3759 | 1.3315 | 1.4265 | 1.4054 | 1.2396 | 1.3964 | 1.4095 | 1.3943 | 1.4065 | 1.3903 | 1.3704 | 1.371 | 1.3846 | 1.3658 | 1.4389 | 1.4466 | 1.2531 | 1.414 | 1.3953 | 1.3948 | 1.3779 | 1.397 | 1.4093 | 1.3747 | 1.3723 | 1.3494 | 1.3901 | 1.3994 | 1.2089 | 1.3764 | 1.3728 | 1.3841 | 1.3657 | 1.391 | 1.3772 | 1.3437 | 1.3873 | 1.3706 | 1.4074 | 1.4048 | 1.223 | 1.3649 | 1.3798 | 1.3765 | 1.3853 | 1.4013 | 1.3886 | 1.3842 | 1.3688 | 1.4377 | 1.4044 | 1.4019 | 1.2257 | 1.4191 | 1.1685 | 1.3138 | 1.3899 | 1.397 | 1.3929 | 1.3658 | 1.3727 | 1.3651
30 | 35457.814 | 37 | 1.3317 | 1.3513 | 1.1775 | 1.3549 | 1.3431 | 1.3554 | 1.3647 | 1.366 | 1.3653 | 1.3026 | 1.3493 | 1.3044 | 1.3715 | 1.3695 | 1.2291 | 1.3686 | 1.3568 | 1.3689 | 1.3715 | 1.3538 | 1.3147 | 1.3453 | 1.364 | 1.34 | 1.3459 | 1.393 | 1.1495 | 1.3864 | 1.3847 | 1.3798 | 1.3863 | 1.3862 | 1.3817 | 1.3543 | 1.3771 | 1.3506 | 1.4296 | 1.4073 | 1.2374 | 1.4022 | 1.411 | 1.3977 | 1.4086 | 1.3934 | 1.3745 | 1.3729 | 1.3885 | 1.3704 | 1.4392 | 1.4486 | 1.2504 | 1.415 | 1.398 | 1.3935 | 1.3803 | 1.3988 | 1.4105 | 1.3764 | 1.3739 | 1.35 | 1.391 | 1.3998 | 1.2054 | 1.3748 | 1.3731 | 1.3843 | 1.3679 | 1.3924 | 1.3795 | 1.3434 | 1.3893 | 1.3747 | 1.409 | 1.4036 | 1.2199 | 1.3631 | 1.3811 | 1.3774 | 1.3831 | 1.405 | 1.3898 | 1.3864 | 1.3697 | 1.4366 | 1.4053 | 1.4032 | 1.226 | 1.4223 | 1.1623 | 1.3142 | 1.3915 | 1.3979 | 1.3932 | 1.3671 | 1.375 | 1.3655
31 | 36680.428 | 37.1 | 1.3277 | 1.3465 | 1.1763 | 1.3541 | 1.3392 | 1.3546 | 1.3663 | 1.3653 | 1.3637 | 1.3012 | 1.3518 | 1.3063 | 1.3705 | 1.3686 | 1.2262 | 1.3693 | 1.3574 | 1.3684 | 1.369 | 1.3518 | 1.3125 | 1.3444 | 1.3686 | 1.339 | 1.3428 | 1.3927 | 1.1437 | 1.3845 | 1.3839 | 1.3775 | 1.386 | 1.3889 | 1.381 | 1.3556 | 1.3771 | 1.3335 | 1.4309 | 1.4099 | 1.2337 | 1.4004 | 1.4108 | 1.3972 | 1.4082 | 1.394 | 1.375 | 1.374 | 1.3879 | 1.3682 | 1.4407 | 1.45 | 1.2479 | 1.4155 | 1.3978 | 1.3944 | 1.381 | 1.4009 | 1.4116 | 1.3789 | 1.376 | 1.3504 | 1.3892 | 1.3992 | 1.2007 | 1.3725 | 1.371 | 1.3798 | 1.3649 | 1.3926 | 1.3799 | 1.3412 | 1.3878 | 1.3748 | 1.4091 | 1.4027 | 1.2141 | 1.3587 | 1.3798 | 1.3768 | 1.381 | 1.4052 | 1.391 | 1.3866 | 1.3685 | 1.4353 | 1.4032 | 1.4025 | 1.2212 | 1.4231 | 1.1504 | 1.3097 | 1.3921 | 1.3984 | 1.3947 | 1.3675 | 1.3749 | 1.3656
32 | 37903.147 | 37.3 | 1.3252 | 1.3442 | 1.171 | 1.3498 | 1.337 | 1.3501 | 1.365 | 1.3632 | 1.3618 | 1.2984 | 1.3484 | 1.298 | 1.37 | 1.3676 | 1.2204 | 1.3675 | 1.356 | 1.3671 | 1.3668 | 1.3489 | 1.3077 | 1.3414 | 1.3645 | 1.3338 | 1.3395 | 1.392 | 1.137 | 1.3841 | 1.3834 | 1.3751 | 1.385 | 1.388 | 1.3786 | 1.3542 | 1.3749 | 1.3328 | 1.4326 | 1.4112 | 1.2288 | 1.401 | 1.412 | 1.3989 | 1.4104 | 1.3949 | 1.3752 | 1.3737 | 1.3877 | 1.3679 | 1.4407 | 1.4517 | 1.2437 | 1.4161 | 1.3986 | 1.3922 | 1.3801 | 1.399 | 1.4101 | 1.3762 | 1.3735 | 1.3477 | 1.3883 | 1.3982 | 1.1958 | 1.3716 | 1.3691 | 1.3784 | 1.3649 | 1.3924 | 1.3808 | 1.339 | 1.3857 | 1.3737 | 1.4112 | 1.4012 | 1.2089 | 1.3548 | 1.3785 | 1.3773 | 1.3784 | 1.4032 | 1.3916 | 1.3864 | 1.3673 | 1.4294 | 1.4019 | 1.4011 | 1.2164 | 1.4229 | 1.1352 | 1.3064 | 1.3917 | 1.3998 | 1.3944 | 1.3664 | 1.3753 | 1.3656
33 | 39125.881 | 37 | 1.3265 | 1.3327 | 1.1645 | 1.348 | 1.3292 | 1.3485 | 1.3657 | 1.3609 | 1.315 | 1.2961 | 1.3451 | 1.293 | 1.3671 | 1.3624 | 1.2108 | 1.3628 | 1.3514 | 1.3628 | 1.3647 | 1.3467 | 1.3042 | 1.34 | 1.3645 | 1.3364 | 1.3347 | 1.3908 | 1.126 | 1.3783 | 1.3776 | 1.3696 | 1.3821 | 1.387 | 1.3779 | 1.3544 | 1.3742 | 1.3314 | 1.4316 | 1.4106 | 1.22 | 1.3981 | 1.4083 | 1.3971 | 1.4068 | 1.3939 | 1.3744 | 1.3725 | 1.388 | 1.3693 | 1.4408 | 1.4524 | 1.2366 | 1.4162 | 1.3971 | 1.3928 | 1.3797 | 1.3978 | 1.4091 | 1.3757 | 1.3738 | 1.347 | 1.3859 | 1.3967 | 1.1868 | 1.3645 | 1.3598 | 1.3681 | 1.3583 | 1.3863 | 1.3761 | 1.3335 | 1.3816 | 1.3719 | 1.409 | 1.3975 | 1.201 | 1.3476 | 1.3751 | 1.376 | 1.3728 | 1.4004 | 1.3886 | 1.3844 | 1.3652 | 1.4254 | 1.3999 | 1.3974 | 1.2123 | 1.4222 | 1.1273 | 1.3007 | 1.3893 | 1.3986 | 1.3938 | 1.3651 | 1.3734 | 1.3622
34 | 40348.59 | 37.1 | 1.3197 | 1.3259 | 1.1558 | 1.3399 | 1.3202 | 1.3396 | 1.3576 | 1.3574 | 1.3099 | 1.2992 | 1.3425 | 1.2893 | 1.3641 | 1.3578 | 1.2033 | 1.3574 | 1.3455 | 1.357 | 1.3583 | 1.3411 | 1.2985 | 1.3409 | 1.3611 | 1.3323 | 1.3284 | 1.388 | 1.1156 | 1.3718 | 1.371 | 1.361 | 1.3797 | 1.3846 | 1.3731 | 1.3514 | 1.3692 | 1.3277 | 1.4319 | 1.4102 | 1.2122 | 1.3954 | 1.4038 | 1.395 | 1.4041 | 1.3917 | 1.3727 | 1.3696 | 1.3845 | 1.367 | 1.4368 | 1.4538 | 1.2307 | 1.4144 | 1.3947 | 1.3939 | 1.3748 | 1.3931 | 1.4069 | 1.3717 | 1.3709 | 1.3436 | 1.3834 | 1.3911 | 1.1773 | 1.3584 | 1.3477 | 1.3579 | 1.352 | 1.3798 | 1.3712 | 1.3304 | 1.3782 | 1.37 | 1.4076 | 1.3922 | 1.1938 | 1.3375 | 1.3706 | 1.3717 | 1.3643 | 1.3935 | 1.3836 | 1.3785 | 1.3604 | 1.421 | 1.3976 | 1.3953 | 1.2092 | 1.4178 | 1.1133 | 1.2934 | 1.3844 | 1.394 | 1.3916 | 1.3621 | 1.3709 | 1.3594
35 | 41571.213 | 37.2 | 1.3203 | 1.322 | 1.1468 | 1.3372 | 1.3176 | 1.3312 | 1.3541 | 1.3522 | 1.306 | 1.2953 | 1.3342 | 1.2853 | 1.3589 | 1.3519 | 1.1953 | 1.3511 | 1.3395 | 1.3515 | 1.3569 | 1.338 | 1.2909 | 1.3395 | 1.3558 | 1.3246 | 1.3203 | 1.3815 | 1.1036 | 1.3613 | 1.3618 | 1.3515 | 1.3728 | 1.3806 | 1.367 | 1.346 | 1.3618 | 1.3227 | 1.4297 | 1.4097 | 1.2029 | 1.3912 | 1.3962 | 1.3899 | 1.3982 | 1.386 | 1.3676 | 1.3645 | 1.3784 | 1.3623 | 1.4334 | 1.4526 | 1.2202 | 1.409 | 1.3868 | 1.3931 | 1.3668 | 1.3862 | 1.401 | 1.3666 | 1.3662 | 1.3383 | 1.3799 | 1.3869 | 1.1688 | 1.3506 | 1.3366 | 1.3447 | 1.3413 | 1.3709 | 1.3648 | 1.3231 | 1.3712 | 1.3646 | 1.4047 | 1.3866 | 1.1844 | 1.3243 | 1.3626 | 1.3643 | 1.3534 | 1.3872 | 1.3742 | 1.3713 | 1.3554 | 1.4095 | 1.3947 | 1.3909 | 1.2025 | 1.4117 | 1.101 | 1.2821 | 1.3754 | 1.3869 | 1.3861 | 1.3558 | 1.3652 | 1.3545
36 | 42793.967 | 37 | 1.3156 | 1.3199 | 1.1379 | 1.3336 | 1.3119 | 1.3269 | 1.3439 | 1.3502 | 1.3044 | 1.2896 | 1.3249 | 1.2795 | 1.3561 | 1.3448 | 1.1878 | 1.3417 | 1.3292 | 1.3413 | 1.3482 | 1.3289 | 1.2839 | 1.3334 | 1.352 | 1.3166 | 1.3128 | 1.3781 | 1.0957 | 1.3528 | 1.3512 | 1.3395 | 1.3668 | 1.3763 | 1.3583 | 1.3408 | 1.3515 | 1.3137 | 1.4286 | 1.4092 | 1.1931 | 1.3839 | 1.3883 | 1.3826 | 1.3905 | 1.3806 | 1.3621 | 1.3604 | 1.3723 | 1.3586 | 1.4306 | 1.45 | 1.2152 | 1.4027 | 1.3786 | 1.4004 | 1.3574 | 1.3779 | 1.3926 | 1.359 | 1.3594 | 1.3303 | 1.3755 | 1.3834 | 1.157 | 1.3387 | 1.3227 | 1.3278 | 1.3278 | 1.3566 | 1.3528 | 1.3136 | 1.3608 | 1.3574 | 1.4012 | 1.3807 | 1.1735 | 1.3123 | 1.3503 | 1.3541 | 1.3417 | 1.3751 | 1.362 | 1.3638 | 1.3477 | 1.3983 | 1.3904 | 1.3868 | 1.196 | 1.4036 | 1.0902 | 1.2702 | 1.3654 | 1.3768 | 1.3785 | 1.3474 | 1.3572 | 1.3443
37 | 44016.602 | 37.2 | 1.3164 | 1.3158 | 1.1282 | 1.3295 | 1.3139 | 1.3236 | 1.3396 | 1.3464 | 1.3008 | 1.284 | 1.3187 | 1.2774 | 1.3495 | 1.3371 | 1.1805 | 1.3325 | 1.3209 | 1.332 | 1.3432 | 1.3224 | 1.2737 | 1.3271 | 1.3419 | 1.3064 | 1.3053 | 1.3734 | 1.0858 | 1.3391 | 1.3399 | 1.3284 | 1.3592 | 1.3709 | 1.3493 | 1.3348 | 1.3432 | 1.3075 | 1.4258 | 1.4056 | 1.186 | 1.3732 | 1.3749 | 1.3694 | 1.3789 | 1.3693 | 1.3521 | 1.3537 | 1.3631 | 1.3594 | 1.4267 | 1.4442 | 1.2075 | 1.3944 | 1.3685 | 1.4052 | 1.3467 | 1.3684 | 1.3872 | 1.3532 | 1.3533 | 1.3222 | 1.3686 | 1.3783 | 1.1519 | 1.3276 | 1.3107 | 1.3131 | 1.3167 | 1.3464 | 1.3417 | 1.3029 | 1.3496 | 1.3528 | 1.3974 | 1.3761 | 1.1669 | 1.2995 | 1.3379 | 1.3429 | 1.3287 | 1.3503 | 1.3428 | 1.3508 | 1.3342 | 1.3785 | 1.3858 | 1.3841 | 1.1918 | 1.3914 | 1.0736 | 1.2589 | 1.3525 | 1.3632 | 1.3683 | 1.3374 | 1.3486 | 1.3366
38 | 45239.339 | 37 | 1.3202 | 1.319 | 1.1202 | 1.3287 | 1.3198 | 1.3297 | 1.3349 | 1.3432 | 1.3075 | 1.2749 | 1.3039 | 1.276 | 1.3437 | 1.3296 | 1.1726 | 1.3221 | 1.3107 | 1.3208 | 1.331 | 1.3125 | 1.2642 | 1.3182 | 1.3363 | 1.2978 | 1.2976 | 1.3679 | 1.0787 | 1.3304 | 1.3288 | 1.3177 | 1.3507 | 1.3623 | 1.3389 | 1.3244 | 1.3345 | 1.2999 | 1.4214 | 1.4035 | 1.1789 | 1.3628 | 1.3645 | 1.3592 | 1.3694 | 1.3593 | 1.3422 | 1.3445 | 1.3535 | 1.3453 | 1.4198 | 1.4408 | 1.2028 | 1.385 | 1.368 | 1.3906 | 1.3352 | 1.3568 | 1.3755 | 1.3431 | 1.3429 | 1.3115 | 1.3617 | 1.3685 | 1.1439 | 1.3102 | 1.2987 | 1.3004 | 1.3046 | 1.3345 | 1.3322 | 1.2909 | 1.3399 | 1.3426 | 1.3927 | 1.3696 | 1.1613 | 1.2881 | 1.3274 | 1.3311 | 1.3147 | 1.3209 | 1.3228 | 1.3383 | 1.3242 | 1.3701 | 1.3829 | 1.3786 | 1.1924 | 1.3833 | 1.0634 | 1.2417 | 1.3424 | 1.3528 | 1.3584 | 1.3269 | 1.338 | 1.3279
39 | 46461.949 | 37.1 | 1.3145 | 1.3225 | 1.1122 | 1.3235 | 1.3336 | 1.3253 | 1.3299 | 1.3369 | 1.3291 | 1.2748 | 1.2969 | 1.2739 | 1.3391 | 1.3228 | 1.1661 | 1.3139 | 1.3029 | 1.3119 | 1.3211 | 1.3029 | 1.2531 | 1.3059 | 1.3238 | 1.2885 | 1.289 | 1.3615 | 1.0699 | 1.3203 | 1.319 | 1.3067 | 1.3388 | 1.3534 | 1.3308 | 1.3165 | 1.3274 | 1.2911 | 1.416 | 1.4011 | 1.1729 | 1.354 | 1.3538 | 1.3479 | 1.3572 | 1.3479 | 1.3313 | 1.3349 | 1.3431 | 1.3475 | 1.4159 | 1.4344 | 1.1947 | 1.3756 | 1.3601 | 1.3574 | 1.3254 | 1.3463 | 1.3694 | 1.3356 | 1.3346 | 1.3038 | 1.357 | 1.3642 | 1.1379 | 1.3204 | 1.2883 | 1.2873 | 1.2911 | 1.3217 | 1.3185 | 1.278 | 1.3291 | 1.3349 | 1.388 | 1.3649 | 1.1535 | 1.2806 | 1.3172 | 1.3176 | 1.3018 | 1.301 | 1.3048 | 1.3273 | 1.3072 | 1.3575 | 1.3759 | 1.3704 | 1.1869 | 1.3739 | 1.0494 | 1.2256 | 1.3371 | 1.3409 | 1.3451 | 1.3148 | 1.3235 | 1.318
40 | 47684.667 | 37.2 | 1.311 | 1.321 | 1.1068 | 1.3225 | 1.3266 | 1.3197 | 1.3265 | 1.3378 | 1.3319 | 1.2701 | 1.2959 | 1.2674 | 1.3343 | 1.3163 | 1.1591 | 1.3048 | 1.2934 | 1.3023 | 1.3113 | 1.2888 | 1.2424 | 1.2917 | 1.3162 | 1.2776 | 1.2837 | 1.3575 | 1.0632 | 1.3119 | 1.311 | 1.2972 | 1.3275 | 1.3428 | 1.3228 | 1.3207 | 1.3188 | 1.2831 | 1.4114 | 1.3982 | 1.1658 | 1.3435 | 1.3422 | 1.3359 | 1.3474 | 1.3374 | 1.3204 | 1.3254 | 1.3334 | 1.3453 | 1.4096 | 1.4308 | 1.1903 | 1.3696 | 1.3507 | 1.3541 | 1.3129 | 1.3381 | 1.3589 | 1.3251 | 1.3237 | 1.2932 | 1.3548 | 1.3579 | 1.1324 | 1.2883 | 1.2776 | 1.2762 | 1.2812 | 1.3119 | 1.3099 | 1.2672 | 1.3158 | 1.3254 | 1.3852 | 1.3616 | 1.1496 | 1.272 | 1.3105 | 1.309 | 1.2914 | 1.2881 | 1.2889 | 1.3169 | 1.2869 | 1.3465 | 1.3745 | 1.366 | 1.1866 | 1.3701 | 1.0396 | 1.2152 | 1.3226 | 1.3279 | 1.3338 | 1.3033 | 1.3129 | 1.3066
41 | 48907.322 | 37 | 1.3267 | 1.3148 | 1.0975 | 1.3135 | 1.3209 | 1.3166 | 1.3233 | 1.3338 | 1.3372 | 1.2669 | 1.2987 | 1.2676 | 1.3299 | 1.3105 | 1.151 | 1.296 | 1.2864 | 1.2939 | 1.3041 | 1.28 | 1.2335 | 1.2801 | 1.3076 | 1.2717 | 1.2774 | 1.353 | 1.0574 | 1.3051 | 1.3021 | 1.2893 | 1.3186 | 1.3366 | 1.312 | 1.3007 | 1.3072 | 1.2736 | 1.4062 | 1.394 | 1.1608 | 1.3363 | 1.3331 | 1.3272 | 1.3343 | 1.3245 | 1.3077 | 1.3157 | 1.3223 | 1.3187 | 1.4061 | 1.4284 | 1.1854 | 1.3653 | 1.3491 | 1.346 | 1.3058 | 1.3267 | 1.3483 | 1.3167 | 1.3153 | 1.2852 | 1.3484 | 1.3497 | 1.1253 | 1.2797 | 1.2674 | 1.2653 | 1.2719 | 1.3036 | 1.3015 | 1.2557 | 1.311 | 1.3156 | 1.3805 | 1.3555 | 1.1428 | 1.2634 | 1.2991 | 1.299 | 1.2804 | 1.2775 | 1.2755 | 1.3059 | 1.2785 | 1.3374 | 1.369 | 1.3607 | 1.18 | 1.354 | 1.025 | 1.201 | 1.3127 | 1.3177 | 1.3244 | 1.2909 | 1.3068 | 1.2977
42 | 50129.979 | 37 | 1.3228 | 1.3108 | 1.0972 | 1.3068 | 1.3133 | 1.3138 | 1.3191 | 1.3293 | 1.3651 | 1.2626 | 1.2999 | 1.2657 | 1.3225 | 1.3052 | 1.1462 | 1.2915 | 1.2808 | 1.2868 | 1.2986 | 1.2619 | 1.2198 | 1.2764 | 1.2908 | 1.2661 | 1.2671 | 1.3482 | 1.0508 | 1.2981 | 1.2968 | 1.2819 | 1.3127 | 1.3365 | 1.3052 | 1.2923 | 1.3023 | 1.2655 | 1.4011 | 1.393 | 1.1569 | 1.3271 | 1.3255 | 1.3209 | 1.3239 | 1.3161 | 1.2998 | 1.3071 | 1.3141 | 1.3105 | 1.3968 | 1.4338 | 1.1812 | 1.3611 | 1.3436 | 1.3405 | 1.2996 | 1.3167 | 1.3424 | 1.3077 | 1.3071 | 1.2777 | 1.3401 | 1.3434 | 1.1223 | 1.274 | 1.2577 | 1.2555 | 1.2638 | 1.2952 | 1.2925 | 1.2464 | 1.2975 | 1.3064 | 1.3749 | 1.3492 | 1.137 | 1.2556 | 1.293 | 1.2905 | 1.2738 | 1.271 | 1.2698 | 1.3022 | 1.2759 | 1.3243 | 1.3666 | 1.3573 | 1.1838 | 1.3494 | 1.0168 | 1.1974 | 1.3107 | 1.3157 | 1.316 | 1.2846 | 1.3002 | 1.3006
43 | 51352.71 | 37.2 | 1.3251 | 1.3047 | 1.0856 | 1.3023 | 1.3071 | 1.3094 | 1.3173 | 1.3265 | 1.4671 | 1.3472 | 1.3005 | 1.3234 | 1.3182 | 1.2996 | 1.1377 | 1.2825 | 1.2697 | 1.2775 | 1.2905 | 1.2505 | 1.2082 | 1.2719 | 1.2918 | 1.2577 | 1.2595 | 1.3431 | 1.0444 | 1.291 | 1.2885 | 1.2726 | 1.3066 | 1.3245 | 1.2964 | 1.2835 | 1.2935 | 1.2589 | 1.3954 | 1.3928 | 1.1507 | 1.3183 | 1.3149 | 1.3104 | 1.3145 | 1.3085 | 1.2912 | 1.3001 | 1.3064 | 1.3045 | 1.391 | 1.4405 | 1.1749 | 1.3547 | 1.3364 | 1.3334 | 1.2902 | 1.3093 | 1.3289 | 1.2971 | 1.3144 | 1.2681 | 1.3326 | 1.3322 | 1.1185 | 1.2679 | 1.2518 | 1.2472 | 1.2573 | 1.2875 | 1.2844 | 1.2312 | 1.2845 | 1.2964 | 1.3724 | 1.3458 | 1.1333 | 1.2498 | 1.2873 | 1.2828 | 1.2671 | 1.2586 | 1.2581 | 1.2911 | 1.2724 | 1.3169 | 1.3619 | 1.3533 | 1.1745 | 1.3411 | 1.0112 | 1.1883 | 1.2985 | 1.3064 | 1.3065 | 1.2741 | 1.2916 | 1.2821
44 | 52575.372 | 37 | 1.3167 | 1.299 | 1.0784 | 1.2969 | 1.3015 | 1.3027 | 1.3167 | 1.3241 | 1.3683 | 1.2701 | 1.2947 | 1.2748 | 1.3128 | 1.294 | 1.1332 | 1.2769 | 1.265 | 1.2715 | 1.2869 | 1.2468 | 1.1973 | 1.2731 | 1.2729 | 1.2501 | 1.2512 | 1.3496 | 1.0385 | 1.2846 | 1.282 | 1.2653 | 1.2994 | 1.3126 | 1.2877 | 1.278 | 1.2843 | 1.2525 | 1.3863 | 1.3896 | 1.143 | 1.3129 | 1.3082 | 1.3041 | 1.3086 | 1.3019 | 1.2837 | 1.2943 | 1.2981 | 1.2985 | 1.3817 | 1.4396 | 1.1777 | 1.348 | 1.3313 | 1.3276 | 1.2825 | 1.2997 | 1.3231 | 1.2887 | 1.2901 | 1.2597 | 1.3219 | 1.327 | 1.1106 | 1.2577 | 1.2407 | 1.2368 | 1.2484 | 1.2783 | 1.2762 | 1.222 | 1.2789 | 1.2898 | 1.3659 | 1.3417 | 1.1292 | 1.2447 | 1.2822 | 1.2777 | 1.2605 | 1.2533 | 1.2511 | 1.2843 | 1.2618 | 1.3055 | 1.3597 | 1.3487 | 1.1724 | 1.331 | 0.9996 | 1.1817 | 1.3011 | 1.2975 | 1.2987 | 1.2704 | 1.2855 | 1.2733
45 | 53797.924 | 37.1 | 1.3279 | 1.2929 | 1.0722 | 1.293 | 1.295 | 1.2979 | 1.3119 | 1.3212 | 1.3581 | 1.3679 | 1.2922 | 1.2705 | 1.3061 | 1.2878 | 1.1267 | 1.2692 | 1.2575 | 1.2642 | 1.266 | 1.2378 | 1.1822 | 1.2523 | 1.2669 | 1.2437 | 1.2413 | 1.3563 | 1.0338 | 1.2787 | 1.2746 | 1.259 | 1.2934 | 1.3027 | 1.2831 | 1.2707 | 1.2766 | 1.2461 | 1.3802 | 1.3862 | 1.1399 | 1.307 | 1.3029 | 1.2938 | 1.2995 | 1.2944 | 1.2743 | 1.2874 | 1.293 | 1.2912 | 1.3753 | 1.417 | 1.167 | 1.3451 | 1.326 | 1.3229 | 1.2748 | 1.2896 | 1.3148 | 1.2822 | 1.2821 | 1.2593 | 1.3197 | 1.3224 | 1.1069 | 1.2527 | 1.2342 | 1.2282 | 1.2414 | 1.2696 | 1.2669 | 1.2118 | 1.2691 | 1.281 | 1.3612 | 1.3393 | 1.1227 | 1.2361 | 1.2739 | 1.2697 | 1.2513 | 1.2446 | 1.2427 | 1.2751 | 1.2504 | 1.3043 | 1.3543 | 1.3431 | 1.167 | 1.3247 | 0.99 | 1.172 | 1.2829 | 1.2912 | 1.2937 | 1.262 | 1.2748 | 1.2636
46 | 55020.545 | 37 | 1.3262 | 1.2882 | 1.073 | 1.2893 | 1.2897 | 1.2923 | 1.3073 | 1.3186 | 1.3391 | 1.2733 | 1.2912 | 1.2456 | 1.2996 | 1.2826 | 1.1212 | 1.2634 | 1.2521 | 1.259 | 1.2616 | 1.2359 | 1.2066 | 1.2557 | 1.2639 | 1.2361 | 1.2314 | 1.3293 | 1.0289 | 1.272 | 1.2674 | 1.2509 | 1.2836 | 1.2943 | 1.275 | 1.2627 | 1.2669 | 1.2383 | 1.3732 | 1.3833 | 1.1366 | 1.2992 | 1.2952 | 1.2853 | 1.293 | 1.2856 | 1.2652 | 1.2792 | 1.2846 | 1.2898 | 1.3667 | 1.4348 | 1.1619 | 1.3375 | 1.3175 | 1.3144 | 1.2667 | 1.2787 | 1.3027 | 1.2746 | 1.2756 | 1.2655 | 1.3014 | 1.3155 | 1.1001 | 1.245 | 1.2268 | 1.221 | 1.2347 | 1.2639 | 1.2602 | 1.2047 | 1.2625 | 1.2748 | 1.3547 | 1.3373 | 1.1164 | 1.2303 | 1.2685 | 1.2629 | 1.2465 | 1.2381 | 1.2376 | 1.2678 | 1.2456 | 1.2898 | 1.3511 | 1.3396 | 1.1646 | 1.3186 | 0.9834 | 1.1676 | 1.2827 | 1.2881 | 1.29 | 1.2592 | 1.269 | 1.26
47 | 56243.251 | 37 | 1.3265 | 1.285 | 1.0615 | 1.2845 | 1.2862 | 1.2903 | 1.3062 | 1.3183 | 1.3313 | 1.2714 | 1.2858 | 1.2741 | 1.294 | 1.278 | 1.1155 | 1.257 | 1.245 | 1.2531 | 1.2552 | 1.2277 | 1.1709 | 1.2411 | 1.257 | 1.2314 | 1.2222 | 1.3303 | 1.0234 | 1.2678 | 1.2631 | 1.2451 | 1.2782 | 1.2891 | 1.2702 | 1.2585 | 1.2629 | 1.234 | 1.3655 | 1.3797 | 1.1315 | 1.2933 | 1.2886 | 1.2793 | 1.2865 | 1.2809 | 1.2619 | 1.2758 | 1.2796 | 1.2801 | 1.3573 | 1.4079 | 1.1578 | 1.3336 | 1.315 | 1.3105 | 1.2617 | 1.2755 | 1.2958 | 1.2692 | 1.2691 | 1.2404 | 1.294 | 1.3109 | 1.098 | 1.2411 | 1.2222 | 1.2158 | 1.2313 | 1.2592 | 1.2535 | 1.197 | 1.2546 | 1.2677 | 1.3516 | 1.3316 | 1.1135 | 1.2255 | 1.2646 | 1.2576 | 1.2395 | 1.2317 | 1.2308 | 1.2639 | 1.2388 | 1.2843 | 1.3439 | 1.3321 | 1.1709 | 1.3091 | 0.973 | 1.1593 | 1.2753 | 1.2847 | 1.2846 | 1.2542 | 1.2623 | 1.2548
48 | 57465.84 | 37.2 | 1.3217 | 1.2803 | 1.0549 | 1.2815 | 1.2815 | 1.2854 | 1.2999 | 1.314 | 1.318 | 1.3118 | 1.2824 | 1.2369 | 1.2882 | 1.2731 | 1.1104 | 1.251 | 1.2381 | 1.2462 | 1.2481 | 1.221 | 1.1772 | 1.2345 | 1.2519 | 1.2259 | 1.211 | 1.3281 | 1.0204 | 1.2602 | 1.2565 | 1.2395 | 1.2711 | 1.2815 | 1.2628 | 1.252 | 1.2508 | 1.2267 | 1.3608 | 1.3769 | 1.1282 | 1.2893 | 1.2826 | 1.2699 | 1.2777 | 1.2711 | 1.2506 | 1.2677 | 1.2712 | 1.2764 | 1.3504 | 1.4061 | 1.1527 | 1.3273 | 1.3076 | 1.3025 | 1.2544 | 1.2672 | 1.2884 | 1.261 | 1.2617 | 1.238 | 1.2848 | 1.3063 | 1.0899 | 1.2314 | 1.2121 | 1.2054 | 1.2225 | 1.25 | 1.2448 | 1.1871 | 1.2461 | 1.2598 | 1.3454 | 1.3259 | 1.1066 | 1.2182 | 1.257 | 1.2505 | 1.2329 | 1.2242 | 1.2245 | 1.2551 | 1.2284 | 1.276 | 1.3396 | 1.329 | 1.1542 | 1.3018 | 0.9665 | 1.1526 | 1.2681 | 1.275 | 1.2769 | 1.2421 | 1.2553 | 1.2473
49 | 58688.554 | 37 | 1.3153 | 1.2737 | 1.0502 | 1.2754 | 1.2728 | 1.2776 | 1.2943 | 1.3072 | 1.3098 | 1.283 | 1.2811 | 1.2306 | 1.2821 | 1.2685 | 1.1054 | 1.2466 | 1.2344 | 1.2412 | 1.243 | 1.2199 | 1.1564 | 1.2286 | 1.2446 | 1.2204 | 1.1989 | 1.318 | 1.0153 | 1.2557 | 1.2507 | 1.2343 | 1.2658 | 1.2764 | 1.2561 | 1.2465 | 1.2467 | 1.2209 | 1.3492 | 1.3717 | 1.1219 | 1.2825 | 1.2763 | 1.2648 | 1.272 | 1.2651 | 1.2438 | 1.261 | 1.2638 | 1.2712 | 1.3376 | 1.4016 | 1.1474 | 1.3215 | 1.3012 | 1.2954 | 1.2477 | 1.2594 | 1.2803 | 1.2535 | 1.2537 | 1.2316 | 1.2727 | 1.301 | 1.0872 | 1.2265 | 1.2074 | 1.2009 | 1.2196 | 1.2452 | 1.2379 | 1.1787 | 1.2394 | 1.2504 | 1.3402 | 1.323 | 1.1032 | 1.2135 | 1.2517 | 1.2443 | 1.2265 | 1.2183 | 1.2187 | 1.2498 | 1.2217 | 1.2701 | 1.3365 | 1.3277 | 1.1655 | 1.2957 | 0.9579 | 1.1435 | 1.2613 | 1.2672 | 1.268 | 1.2352 | 1.2485 | 1.2411
50 | 59911.225 | 37.1 | 1.3083 | 1.2687 | 1.0458 | 1.2719 | 1.2703 | 1.2732 | 1.2908 | 1.3053 | 1.3056 | 1.2887 | 1.2783 | 1.2237 | 1.2756 | 1.2624 | 1.1003 | 1.2396 | 1.2267 | 1.2342 | 1.246 | 1.2056 | 1.1285 | 1.2272 | 1.2402 | 1.2145 | 1.1877 | 1.3143 | 1.0125 | 1.2512 | 1.247 | 1.23 | 1.2622 | 1.2717 | 1.2517 | 1.2412 | 1.2402 | 1.2169 | 1.3419 | 1.3684 | 1.1178 | 1.2759 | 1.27 | 1.2576 | 1.266 | 1.2595 | 1.2361 | 1.2557 | 1.2588 | 1.2668 | 1.3294 | 1.4211 | 1.1451 | 1.3179 | 1.2956 | 1.2902 | 1.2425 | 1.2531 | 1.2744 | 1.2477 | 1.2477 | 1.2259 | 1.2621 | 1.2975 | 1.0825 | 1.2217 | 1.2021 | 1.1945 | 1.2156 | 1.2395 | 1.2322 | 1.1721 | 1.2343 | 1.2452 | 1.3346 | 1.319 | 1.0995 | 1.2074 | 1.2472 | 1.2401 | 1.2222 | 1.2142 | 1.2123 | 1.2446 | 1.2158 | 1.262 | 1.3301 | 1.3223 | 1.1462 | 1.288 | 0.9499 | 1.1363 | 1.2479 | 1.2633 | 1.2644 | 1.2305 | 1.2419 | 1.2384
51 | 61133.847 | 37 | 1.3101 | 1.2661 | 1.0413 | 1.2695 | 1.2654 | 1.2663 | 1.2855 | 1.3014 | 1.3129 | 1.3562 | 1.2774 | 1.2224 | 1.27 | 1.2584 | 1.0969 | 1.2352 | 1.2224 | 1.2299 | 1.2288 | 1.1956 | 1.1223 | 1.2194 | 1.2335 | 1.2103 | 1.1727 | 1.3094 | 1.0083 | 1.2454 | 1.2405 | 1.2244 | 1.2553 | 1.2652 | 1.2451 | 1.2348 | 1.2342 | 1.2095 | 1.3326 | 1.3639 | 1.1152 | 1.2716 | 1.2652 | 1.2523 | 1.2594 | 1.2521 | 1.2288 | 1.2498 | 1.2529 | 1.2608 | 1.3167 | 1.3976 | 1.1589 | 1.3129 | 1.2887 | 1.2852 | 1.2369 | 1.2461 | 1.2674 | 1.2403 | 1.2402 | 1.2203 | 1.2471 | 1.2926 | 1.0781 | 1.2164 | 1.1975 | 1.1901 | 1.2122 | 1.2355 | 1.2275 | 1.1654 | 1.2289 | 1.2387 | 1.327 | 1.3144 | 1.0957 | 1.2033 | 1.2424 | 1.2336 | 1.2175 | 1.2088 | 1.2066 | 1.2366 | 1.208 | 1.2563 | 1.3265 | 1.3211 | 1.1457 | 1.2862 | 0.9474 | 1.1333 | 1.259 | 1.2575 | 1.2571 | 1.2238 | 1.2362 | 1.2253
52 | 62356.514 | 37 | 1.3024 | 1.258 | 1.0361 | 1.2609 | 1.2575 | 1.2615 | 1.2811 | 1.298 | 1.305 | 1.2471 | 1.272 | 1.2409 | 1.2623 | 1.2532 | 1.0916 | 1.2301 | 1.2171 | 1.2241 | 1.2215 | 1.1855 | 1.1135 | 1.2117 | 1.2303 | 1.2441 | 1.1637 | 1.3046 | 1.0045 | 1.2406 | 1.2355 | 1.219 | 1.2493 | 1.2588 | 1.2401 | 1.2292 | 1.2269 | 1.2054 | 1.3238 | 1.3618 | 1.1098 | 1.2669 | 1.2601 | 1.2457 | 1.2547 | 1.2462 | 1.2233 | 1.2432 | 1.2457 | 1.2528 | 1.3073 | 1.3957 | 1.1349 | 1.3077 | 1.2829 | 1.2792 | 1.2322 | 1.2409 | 1.2619 | 1.234 | 1.2344 | 1.2143 | 1.2387 | 1.2876 | 1.0725 | 1.2088 | 1.1911 | 1.1835 | 1.2091 | 1.2295 | 1.2219 | 1.1586 | 1.2238 | 1.232 | 1.3213 | 1.3112 | 1.0899 | 1.1975 | 1.2374 | 1.2305 | 1.2109 | 1.2045 | 1.2032 | 1.2315 | 1.2018 | 1.2502 | 1.3204 | 1.3151 | 1.1412 | 1.28 | 0.9395 | 1.1261 | 1.2401 | 1.2518 | 1.25 | 1.2163 | 1.2281 | 1.2283
53 | 63579.132 | 37.3 | 1.3016 | 1.2562 | 1.032 | 1.2556 | 1.2533 | 1.2568 | 1.2771 | 1.2938 | 1.3634 | 1.285 | 1.269 | 1.226 | 1.2542 | 1.2487 | 1.0879 | 1.2264 | 1.2131 | 1.2214 | 1.2168 | 1.1803 | 1.102 | 1.2066 | 1.2191 | 1.1989 | 1.1487 | 1.2997 | 1.001 | 1.2359 | 1.2309 | 1.2151 | 1.243 | 1.2535 | 1.2353 | 1.2235 | 1.2221 | 1.2054 | 1.3152 | 1.3575 | 1.1078 | 1.2629 | 1.2573 | 1.2414 | 1.2493 | 1.2412 | 1.2176 | 1.2388 | 1.2408 | 1.2482 | 1.2984 | 1.3932 | 1.132 | 1.3044 | 1.2765 | 1.2754 | 1.2264 | 1.2353 | 1.2555 | 1.2284 | 1.2277 | 1.2061 | 1.2262 | 1.2839 | 1.0688 | 1.2055 | 1.1849 | 1.1783 | 1.2044 | 1.225 | 1.2169 | 1.1513 | 1.2179 | 1.2262 | 1.3143 | 1.3063 | 1.0866 | 1.1933 | 1.2325 | 1.2232 | 1.2054 | 1.1987 | 1.1975 | 1.225 | 1.1935 | 1.2451 | 1.3155 | 1.311 | 1.1336 | 1.2718 | 0.9304 | 1.1181 | 1.2341 | 1.2471 | 1.2454 | 1.212 | 1.2236 | 1.223
54 | 64801.813 | 37.1 | 1.2992 | 1.2512 | 1.0276 | 1.2513 | 1.2489 | 1.2529 | 1.2731 | 1.2907 | 1.2988 | 1.2347 | 1.2675 | 1.2061 | 1.2467 | 1.2432 | 1.0836 | 1.2199 | 1.2077 | 1.216 | 1.21 | 1.1741 | 1.0946 | 1.2023 | 1.2173 | 1.2004 | 1.1361 | 1.2967 | 0.9967 | 1.233 | 1.2276 | 1.2126 | 1.2392 | 1.2482 | 1.2287 | 1.2187 | 1.2166 | 1.1933 | 1.3054 | 1.3522 | 1.1026 | 1.2581 | 1.2528 | 1.2371 | 1.2455 | 1.2365 | 1.2106 | 1.2334 | 1.2352 | 1.2433 | 1.286 | 1.3906 | 1.1285 | 1.3007 | 1.2726 | 1.2698 | 1.2225 | 1.2307 | 1.2512 | 1.2243 | 1.2236 | 1.2015 | 1.2193 | 1.2787 | 1.0648 | 1.1982 | 1.178 | 1.1736 | 1.2019 | 1.2213 | 1.212 | 1.1458 | 1.2132 | 1.2193 | 1.3094 | 1.3022 | 1.0831 | 1.1884 | 1.2284 | 1.2194 | 1.2009 | 1.1962 | 1.1946 | 1.2205 | 1.188 | 1.2385 | 1.311 | 1.3062 | 1.1297 | 1.2667 | 0.9259 | 1.115 | 1.232 | 1.2443 | 1.2598 | 1.2084 | 1.2187 | 1.2101
55 | 66024.326 | 37 | 1.299 | 1.2476 | 1.0238 | 1.2481 | 1.2455 | 1.2495 | 1.2696 | 1.2868 | 1.3138 | 1.2732 | 1.2651 | 1.2011 | 1.2397 | 1.2393 | 1.0796 | 1.217 | 1.2044 | 1.2124 | 1.2071 | 1.1688 | 1.0876 | 1.1951 | 1.2073 | 1.1879 | 1.1236 | 1.2918 | 0.9934 | 1.2309 | 1.2226 | 1.2084 | 1.234 | 1.2436 | 1.2257 | 1.2142 | 1.2116 | 1.1873 | 1.2942 | 1.3482 | 1.0996 | 1.2549 | 1.2504 | 1.232 | 1.2419 | 1.2311 | 1.2077 | 1.229 | 1.2326 | 1.2426 | 1.2716 | 1.3849 | 1.125 | 1.2963 | 1.2672 | 1.2648 | 1.218 | 1.2275 | 1.2471 | 1.2209 | 1.217 | 1.1967 | 1.1997 | 1.274 | 1.0589 | 1.1936 | 1.1752 | 1.1712 | 1.1991 | 1.2175 | 1.2074 | 1.1394 | 1.2094 | 1.2153 | 1.302 | 1.2992 | 1.0789 | 1.1863 | 1.2262 | 1.2163 | 1.1969 | 1.1911 | 1.1897 | 1.2141 | 1.1816 | 1.2314 | 1.3035 | 1.3024 | 1.127 | 1.2622 | 0.9209 | 1.109 | 1.2266 | 1.2372 | 1.235 | 1.2018 | 1.2129 | 1.2042
56 | 67246.997 | 37.2 | 1.2883 | 1.2434 | 1.0204 | 1.2436 | 1.2416 | 1.2447 | 1.2647 | 1.2882 | 1.2948 | 1.3139 | 1.2649 | 1.1962 | 1.231 | 1.2355 | 1.0745 | 1.2127 | 1.1994 | 1.2083 | 1.2005 | 1.1651 | 1.0829 | 1.1943 | 1.2071 | 1.1842 | 1.1108 | 1.2864 | 0.99 | 1.2252 | 1.219 | 1.2043 | 1.2295 | 1.2394 | 1.2212 | 1.2094 | 1.2052 | 1.1845 | 1.2828 | 1.3435 | 1.0938 | 1.2496 | 1.2436 | 1.2277 | 1.2392 | 1.2279 | 1.2068 | 1.2259 | 1.2287 | 1.239 | 1.2599 | 1.3811 | 1.1212 | 1.2916 | 1.2608 | 1.2587 | 1.2139 | 1.2212 | 1.2421 | 1.2156 | 1.2138 | 1.1911 | 1.1838 | 1.2713 | 1.0553 | 1.1898 | 1.1734 | 1.169 | 1.1987 | 1.216 | 1.2065 | 1.1349 | 1.2041 | 1.2081 | 1.296 | 1.2955 | 1.0758 | 1.1813 | 1.2211 | 1.212 | 1.1938 | 1.1895 | 1.1882 | 1.2117 | 1.1769 | 1.2271 | 1.2996 | 1.2984 | 1.1208 | 1.2583 | 0.9141 | 1.1043 | 1.2225 | 1.2349 | 1.2338 | 1.1988 | 1.2093 | 1.2002
57 | 68469.603 | 37 | 1.286 | 1.2387 | 1.0166 | 1.2385 | 1.2355 | 1.2397 | 1.2616 | 1.2878 | 1.3052 | 1.3737 | 1.2624 | 1.1916 | 1.2242 | 1.2318 | 1.0732 | 1.2086 | 1.1955 | 1.2047 | 1.1931 | 1.1597 | 1.0774 | 1.1969 | 1.1993 | 1.2195 | 1.0971 | 1.283 | 0.9873 | 1.2227 | 1.2163 | 1.2023 | 1.2265 | 1.2368 | 1.2178 | 1.2064 | 1.2012 | 1.1842 | 1.2733 | 1.3418 | 1.0922 | 1.2475 | 1.2431 | 1.2259 | 1.2367 | 1.2246 | 1.2043 | 1.222 | 1.2247 | 1.2332 | 1.2487 | 1.3829 | 1.1185 | 1.2914 | 1.2597 | 1.2567 | 1.2106 | 1.2181 | 1.2381 | 1.2109 | 1.2094 | 1.1854 | 1.1821 | 1.2667 | 1.0508 | 1.1852 | 1.1716 | 1.1655 | 1.1963 | 1.2124 | 1.2043 | 1.1312 | 1.2017 | 1.2055 | 1.2888 | 1.2906 | 1.0701 | 1.1778 | 1.2172 | 1.2079 | 1.1901 | 1.1854 | 1.1861 | 1.2082 | 1.1733 | 1.2235 | 1.2894 | 1.2915 | 1.1144 | 1.2506 | 0.9082 | 1.0999 | 1.2201 | 1.2312 | 1.2289 | 1.1938 | 1.2038 | 1.1933
58 | 69692.042 | 37.2 | 1.2792 | 1.2339 | 1.0123 | 1.2337 | 1.2301 | 1.2343 | 1.2551 | 1.2809 | 1.2853 | 1.2173 | 1.2577 | 1.1878 | 1.2163 | 1.2272 | 1.0689 | 1.2053 | 1.1917 | 1.1988 | 1.1875 | 1.1537 | 1.07 | 1.1813 | 1.1949 | 1.1957 | 1.0869 | 1.2808 | 0.9855 | 1.219 | 1.2134 | 1.2 | 1.2223 | 1.2329 | 1.2151 | 1.2031 | 1.2005 | 1.1732 | 1.2568 | 1.3372 | 1.0888 | 1.2458 | 1.2419 | 1.2244 | 1.2361 | 1.2239 | 1.2055 | 1.2204 | 1.2223 | 1.2324 | 1.2307 | 1.38 | 1.1149 | 1.2877 | 1.2563 | 1.255 | 1.2079 | 1.216 | 1.2353 | 1.2079 | 1.2058 | 1.1821 | 1.1728 | 1.2625 | 1.046 | 1.181 | 1.1682 | 1.1624 | 1.1944 | 1.2104 | 1.2018 | 1.1268 | 1.199 | 1.2028 | 1.2845 | 1.2891 | 1.0686 | 1.1753 | 1.2167 | 1.2061 | 1.1886 | 1.185 | 1.1841 | 1.2044 | 1.1684 | 1.2184 | 1.2879 | 1.2877 | 1.11 | 1.2473 | 0.9032 | 1.0973 | 1.2177 | 1.2295 | 1.2265 | 1.1913 | 1.2009 | 1.1878
59 | 70914.74 | 37.1 | 1.2739 | 1.2292 | 1.0087 | 1.2307 | 1.2259 | 1.2305 | 1.2509 | 1.278 | 1.2875 | 1.2709 | 1.2543 | 1.1984 | 1.2061 | 1.2224 | 1.0658 | 1.2018 | 1.1894 | 1.1971 | 1.1837 | 1.1486 | 1.0649 | 1.1756 | 1.1891 | 1.1799 | 1.0714 | 1.2752 | 0.9811 | 1.2162 | 1.2099 | 1.1979 | 1.2177 | 1.229 | 1.2097 | 1.1988 | 1.1942 | 1.1702 | 1.2474 | 1.3348 | 1.0875 | 1.2414 | 1.2378 | 1.2194 | 1.2313 | 1.2182 | 1.2003 | 1.215 | 1.2177 | 1.2275 | 1.2196 | 1.3762 | 1.1118 | 1.2855 | 1.2509 | 1.2483 | 1.2028 | 1.2115 | 1.2312 | 1.2034 | 1.2014 | 1.1779 | 1.1472 | 1.2589 | 1.0451 | 1.1791 | 1.1661 | 1.1613 | 1.1936 | 1.2094 | 1.2001 | 1.1241 | 1.1971 | 1.196 | 1.2724 | 1.2878 | 1.0647 | 1.173 | 1.2139 | 1.2028 | 1.1863 | 1.1828 | 1.1804 | 1.2001 | 1.1632 | 1.2133 | 1.2843 | 1.2836 | 1.1056 | 1.2401 | 0.8964 | 1.0924 | 1.2147 | 1.2265 | 1.2237 | 1.1879 | 1.1964 | 1.1852
60 | 72137.362 | 37.1 | 1.2733 | 1.2264 | 1.0067 | 1.2264 | 1.2219 | 1.2254 | 1.2449 | 1.2715 | 1.3345 | 1.2369 | 1.2469 | 1.1756 | 1.1982 | 1.2193 | 1.0621 | 1.1984 | 1.1861 | 1.1936 | 1.1807 | 1.1436 | 1.0594 | 1.1704 | 1.1837 | 1.1856 | 1.0569 | 1.2723 | 0.9793 | 1.213 | 1.2077 | 1.1948 | 1.215 | 1.2262 | 1.2083 | 1.1958 | 1.1913 | 1.1659 | 1.232 | 1.3298 | 1.0812 | 1.2373 | 1.2344 | 1.2166 | 1.2273 | 1.2147 | 1.1974 | 1.2125 | 1.2145 | 1.2251 | 1.2004 | 1.3718 | 1.1087 | 1.2811 | 1.2473 | 1.2455 | 1.2004 | 1.2088 | 1.2284 | 1.2011 | 1.1967 | 1.1734 | 1.1316 | 1.2545 | 1.0421 | 1.1731 | 1.1604 | 1.1559 | 1.1877 | 1.2042 | 1.194 | 1.1191 | 1.1929 | 1.1914 | 1.2611 | 1.283 | 1.0606 | 1.1691 | 1.2103 | 1.1989 | 1.182 | 1.1804 | 1.1805 | 1.1987 | 1.1598 | 1.2102 | 1.2754 | 1.2795 | 1.1003 | 1.2371 | 0.8916 | 1.0893 | 1.212 | 1.2237 | 1.2193 | 1.1848 | 1.1929 | 1.1804
61 | 73359.921 | 37.2 | 1.2696 | 1.2214 | 1.0061 | 1.223 | 1.2188 | 1.2235 | 1.2417 | 1.269 | 1.3124 | 1.2 | 1.2455 | 1.1713 | 1.1925 | 1.2159 | 1.0601 | 1.1959 | 1.1828 | 1.1901 | 1.1769 | 1.1398 | 1.0535 | 1.1677 | 1.1813 | 1.1601 | 1.0441 | 1.2685 | 0.9762 | 1.211 | 1.2049 | 1.1922 | 1.2112 | 1.2228 | 1.2048 | 1.1929 | 1.1887 | 1.1624 | 1.2214 | 1.3266 | 1.0787 | 1.2339 | 1.23 | 1.212 | 1.2239 | 1.2115 | 1.1954 | 1.2116 | 1.2107 | 1.2216 | 1.188 | 1.3702 | 1.1045 | 1.2773 | 1.2441 | 1.2425 | 1.1989 | 1.2069 | 1.232 | 1.2002 | 1.1949 | 1.1695 | 1.1151 | 1.2491 | 1.036 | 1.1666 | 1.1571 | 1.1528 | 1.1866 | 1.2025 | 1.1913 | 1.1134 | 1.1894 | 1.1857 | 1.2532 | 1.2788 | 1.0577 | 1.1656 | 1.2062 | 1.1957 | 1.1791 | 1.1772 | 1.1745 | 1.1929 | 1.1529 | 1.2068 | 1.2688 | 1.2756 | 1.0958 | 1.2325 | 0.8877 | 1.0863 | 1.2086 | 1.2212 | 1.216 | 1.1814 | 1.1891 | 1.1749
62 | 74582.514 | 37 | 1.2665 | 1.2175 | 1.0023 | 1.2184 | 1.2133 | 1.218 | 1.2359 | 1.2659 | 1.2756 | 1.2896 | 1.2417 | 1.1702 | 1.1827 | 1.2117 | 1.0559 | 1.1926 | 1.1781 | 1.186 | 1.17 | 1.1343 | 1.0468 | 1.161 | 1.1757 | 1.1578 | 1.0306 | 1.2649 | 0.9724 | 1.2077 | 1.2028 | 1.1896 | 1.2074 | 1.2181 | 1.201 | 1.1876 | 1.184 | 1.1576 | 1.2069 | 1.3227 | 1.0761 | 1.2319 | 1.2284 | 1.2098 | 1.2198 | 1.2073 | 1.1915 | 1.206 | 1.208 | 1.2163 | 1.1746 | 1.3721 | 1.1005 | 1.2737 | 1.2398 | 1.2384 | 1.1969 | 1.2041 | 1.224 | 1.1973 | 1.1914 | 1.1665 | 1.0987 | 1.2483 | 1.0351 | 1.1651 | 1.1537 | 1.1497 | 1.1839 | 1.2004 | 1.1892 | 1.112 | 1.1893 | 1.1847 | 1.247 | 1.2795 | 1.0547 | 1.1624 | 1.2046 | 1.1925 | 1.178 | 1.1772 | 1.1739 | 1.191 | 1.149 | 1.2021 | 1.2636 | 1.2715 | 1.0916 | 1.2302 | 0.8826 | 1.0834 | 1.2063 | 1.2194 | 1.2148 | 1.178 | 1.1866 | 1.195
63 | 75805.177 | 37.1 | 1.2642 | 1.214 | 1.0001 | 1.2163 | 1.2115 | 1.2272 | 1.2334 | 1.2622 | 1.265 | 1.1925 | 1.2356 | 1.1597 | 1.1769 | 1.2098 | 1.0552 | 1.1909 | 1.1759 | 1.1849 | 1.1667 | 1.1306 | 1.0423 | 1.1576 | 1.1712 | 1.1523 | 1.0168 | 1.263 | 0.9711 | 1.2059 | 1.2007 | 1.1891 | 1.205 | 1.2163 | 1.1992 | 1.1844 | 1.182 | 1.1544 | 1.1948 | 1.3211 | 1.0729 | 1.2297 | 1.2261 | 1.2077 | 1.2196 | 1.205 | 1.1889 | 1.2042 | 1.206 | 1.214 | 1.1586 | 1.3712 | 1.0989 | 1.2734 | 1.2388 | 1.2375 | 1.1945 | 1.2009 | 1.2207 | 1.1934 | 1.1874 | 1.1614 | 1.08 | 1.2466 | 1.0337 | 1.1633 | 1.1525 | 1.1474 | 1.1827 | 1.1981 | 1.1862 | 1.1092 | 1.1866 | 1.1802 | 1.2391 | 1.2787 | 1.0527 | 1.1606 | 1.203 | 1.1923 | 1.1756 | 1.1756 | 1.1735 | 1.1886 | 1.1451 | 1.2002 | 1.2559 | 1.2704 | 1.0902 | 1.2262 | 0.8789 | 1.0803 | 1.2053 | 1.2163 | 1.2101 | 1.1756 | 1.1831 | 1.1672
64 | 77027.674 | 37 | 1.26 | 1.2105 | 0.9967 | 1.2111 | 1.2058 | 1.222 | 1.2264 | 1.2557 | 1.2591 | 1.187 | 1.2326 | 1.1606 | 1.165 | 1.205 | 1.0516 | 1.1878 | 1.173 | 1.1812 | 1.1625 | 1.1249 | 1.0369 | 1.1518 | 1.1662 | 1.1481 | 1.0036 | 1.2575 | 0.9666 | 1.2022 | 1.1974 | 1.1859 | 1.2013 | 1.2115 | 1.1957 | 1.1813 | 1.1798 | 1.1519 | 1.1801 | 1.3172 | 1.0711 | 1.2274 | 1.2245 | 1.2056 | 1.2173 | 1.2026 | 1.1853 | 1.2009 | 1.2027 | 1.2123 | 1.1402 | 1.3655 | 1.0945 | 1.2679 | 1.234 | 1.2327 | 1.1914 | 1.1996 | 1.2181 | 1.1915 | 1.1849 | 1.1596 | 1.0622 | 1.2419 | 1.0309 | 1.1605 | 1.1497 | 1.1439 | 1.179 | 1.1937 | 1.1824 | 1.1047 | 1.1835 | 1.1772 | 1.2279 | 1.2738 | 1.0492 | 1.1561 | 1.199 | 1.1877 | 1.1732 | 1.1737 | 1.1723 | 1.186 | 1.1407 | 1.1963 | 1.2502 | 1.2671 | 1.0852 | 1.2227 | 0.8737 | 1.0764 | 1.2012 | 1.2135 | 1.2083 | 1.1738 | 1.1803 | 1.1663
65 | 78250.363 | 37.1 | 1.2558 | 1.2061 | 1.0074 | 1.2079 | 1.2031 | 1.2198 | 1.2233 | 1.2528 | 1.2756 | 1.1829 | 1.2277 | 1.1541 | 1.1569 | 1.2028 | 1.0492 | 1.1852 | 1.171 | 1.1793 | 1.1602 | 1.1213 | 1.0342 | 1.1495 | 1.1619 | 1.144 | 0.9868 | 1.2548 | 0.9647 | 1.2 | 1.1954 | 1.1842 | 1.1995 | 1.2094 | 1.1945 | 1.18 | 1.1783 | 1.1481 | 1.1645 | 1.3145 | 1.0684 | 1.2244 | 1.2229 | 1.204 | 1.2158 | 1.2008 | 1.1833 | 1.1998 | 1.2011 | 1.2097 | 1.119 | 1.3618 | 1.0921 | 1.2655 | 1.2316 | 1.2298 | 1.1891 | 1.1961 | 1.2161 | 1.1904 | 1.1829 | 1.1563 | 1.0378 | 1.2368 | 1.0257 | 1.1535 | 1.1429 | 1.1376 | 1.1766 | 1.1918 | 1.181 | 1.1021 | 1.1825 | 1.1733 | 1.2163 | 1.2708 | 1.0454 | 1.153 | 1.1956 | 1.1847 | 1.1706 | 1.173 | 1.1713 | 1.1847 | 1.138 | 1.1929 | 1.2395 | 1.2629 | 1.0774 | 1.2175 | 0.8679 | 1.0733 | 1.1996 | 1.2117 | 1.2063 | 1.1718 | 1.1791 | 1.1939
66 | 79472.936 | 37.2 | 1.2499 | 1.2012 | 0.9913 | 1.2031 | 1.1981 | 1.2145 | 1.2167 | 1.2446 | 1.2532 | 1.3014 | 1.2204 | 1.1646 | 1.147 | 1.1982 | 1.0471 | 1.1828 | 1.169 | 1.1778 | 1.156 | 1.1184 | 1.0302 | 1.1442 | 1.158 | 1.1405 | 0.9729 | 1.2513 | 0.9619 | 1.2013 | 1.1941 | 1.1833 | 1.1976 | 1.2078 | 1.1922 | 1.1755 | 1.1749 | 1.1444 | 1.152 | 1.3115 | 1.065 | 1.2197 | 1.2184 | 1.1984 | 1.2114 | 1.1957 | 1.1785 | 1.1958 | 1.1976 | 1.2037 | 1.1077 | 1.3583 | 1.0904 | 1.2628 | 1.2287 | 1.2273 | 1.1862 | 1.1938 | 1.2127 | 1.1883 | 1.181 | 1.1543 | 1.021 | 1.2354 | 1.0253 | 1.1527 | 1.1436 | 1.1393 | 1.1765 | 1.1904 | 1.1782 | 1.0971 | 1.1803 | 1.1706 | 1.2067 | 1.2676 | 1.042 | 1.1516 | 1.1938 | 1.1814 | 1.1685 | 1.1719 | 1.1692 | 1.1813 | 1.1333 | 1.1897 | 1.2293 | 1.2564 | 1.0714 | 1.2131 | 0.8636 | 1.07 | 1.1968 | 1.2086 | 1.2032 | 1.1696 | 1.1759 | 1.1609
67 | 80695.62 | 37 | 1.2455 | 1.1978 | 0.9881 | 1.2 | 1.1948 | 1.2117 | 1.2119 | 1.2412 | 1.2434 | 1.2022 | 1.2151 | 1.1454 | 1.1395 | 1.1959 | 1.0426 | 1.1782 | 1.1642 | 1.1739 | 1.1499 | 1.1118 | 1.0267 | 1.1392 | 1.1531 | 1.1433 | 0.9607 | 1.2479 | 0.9595 | 1.1953 | 1.1919 | 1.1813 | 1.1957 | 1.205 | 1.1907 | 1.1745 | 1.1733 | 1.1425 | 1.1403 | 1.3102 | 1.064 | 1.2181 | 1.2177 | 1.1978 | 1.2113 | 1.1943 | 1.1773 | 1.1946 | 1.1965 | 1.2013 | 1.0875 | 1.3595 | 1.0893 | 1.2618 | 1.2288 | 1.2249 | 1.1853 | 1.1923 | 1.2112 | 1.1861 | 1.1781 | 1.1507 | 0.9976 | 1.2312 | 1.0218 | 1.1489 | 1.1404 | 1.1354 | 1.1748 | 1.1892 | 1.1753 | 1.097 | 1.1783 | 1.1677 | 1.1964 | 1.2658 | 1.0404 | 1.1487 | 1.1922 | 1.18 | 1.1672 | 1.1713 | 1.1664 | 1.1787 | 1.1299 | 1.1861 | 1.2219 | 1.2519 | 1.0658 | 1.2078 | 0.8587 | 1.0655 | 1.193 | 1.2072 | 1.2012 | 1.1666 | 1.1734 | 1.1576
68 | 81918.131 | 37.1 | 1.2429 | 1.1948 | 0.9896 | 1.1973 | 1.1917 | 1.2096 | 1.2092 | 1.2389 | 1.2449 | 1.1647 | 1.2121 | 1.1413 | 1.1294 | 1.192 | 1.042 | 1.1768 | 1.1628 | 1.1719 | 1.1457 | 1.1095 | 1.026 | 1.1358 | 1.1477 | 1.1344 | 0.9437 | 1.2439 | 0.9569 | 1.1927 | 1.19 | 1.1799 | 1.1928 | 1.2017 | 1.1878 | 1.1704 | 1.1693 | 1.1381 | 1.1223 | 1.3061 | 1.0599 | 1.2145 | 1.2156 | 1.1955 | 1.2095 | 1.1924 | 1.1745 | 1.1922 | 1.1941 | 1.2007 | 1.0691 | 1.3549 | 1.0839 | 1.2552 | 1.2257 | 1.2207 | 1.1825 | 1.1905 | 1.2082 | 1.1847 | 1.1763 | 1.1492 | 0.9823 | 1.2266 | 1.0179 | 1.1436 | 1.1374 | 1.1318 | 1.1718 | 1.1874 | 1.1722 | 1.0924 | 1.175 | 1.1656 | 1.1871 | 1.2652 | 1.0378 | 1.1454 | 1.1899 | 1.1791 | 1.1651 | 1.1683 | 1.1654 | 1.1753 | 1.126 | 1.1849 | 1.2139 | 1.2505 | 1.0631 | 1.207 | 0.8564 | 1.0642 | 1.1919 | 1.2044 | 1.1992 | 1.1643 | 1.1714 | 1.1552
69 | 83140.815 | 37.1 | 1.244 | 1.1908 | 0.9894 | 1.1922 | 1.1886 | 1.206 | 1.2071 | 1.2359 | 1.281 | 1.1756 | 1.2091 | 1.1379 | 1.1226 | 1.1893 | 1.039 | 1.1734 | 1.1601 | 1.1692 | 1.1418 | 1.1067 | 1.032 | 1.1327 | 1.1462 | 1.1328 | 0.9291 | 1.2431 | 0.957 | 1.1938 | 1.1893 | 1.1789 | 1.1912 | 1.2003 | 1.1862 | 1.1691 | 1.1689 | 1.1357 | 1.1093 | 1.3039 | 1.0583 | 1.212 | 1.2145 | 1.1929 | 1.2063 | 1.1903 | 1.1728 | 1.1907 | 1.1927 | 1.198 | 1.0448 | 1.3512 | 1.0836 | 1.2553 | 1.2244 | 1.2179 | 1.1807 | 1.1874 | 1.2045 | 1.1803 | 1.1711 | 1.1441 | 0.9566 | 1.2211 | 1.0137 | 1.1393 | 1.1336 | 1.1275 | 1.1689 | 1.1844 | 1.1697 | 1.091 | 1.1736 | 1.1614 | 1.173 | 1.2595 | 1.0343 | 1.1421 | 1.1865 | 1.1753 | 1.162 | 1.1669 | 1.163 | 1.1732 | 1.1224 | 1.1824 | 1.2064 | 1.2465 | 1.0588 | 1.2015 | 0.8516 | 1.0604 | 1.1901 | 1.2031 | 1.1974 | 1.1631 | 1.1695 | 1.152
70 | 84363.332 | 37 | 1.2345 | 1.1872 | 0.982 | 1.1896 | 1.1833 | 1.1997 | 1.1995 | 1.2258 | 1.2259 | 1.1381 | 1.2007 | 1.1296 | 1.1105 | 1.1859 | 1.0375 | 1.1725 | 1.1593 | 1.1683 | 1.1381 | 1.1061 | 1.0292 | 1.1271 | 1.1385 | 1.1273 | 0.9154 | 1.2387 | 0.9537 | 1.1903 | 1.1872 | 1.1771 | 1.1869 | 1.196 | 1.1837 | 1.1647 | 1.1653 | 1.133 | 1.0908 | 1.3007 | 1.0556 | 1.209 | 1.2118 | 1.1904 | 1.2046 | 1.1869 | 1.1695 | 1.187 | 1.1889 | 1.1923 | 1.0197 | 1.3506 | 1.08 | 1.2505 | 1.2216 | 1.2154 | 1.179 | 1.1866 | 1.2042 | 1.1811 | 1.1717 | 1.1435 | 0.9177 | 1.2195 | 1.013 | 1.1377 | 1.1329 | 1.1248 | 1.1673 | 1.1819 | 1.1664 | 1.0862 | 1.1711 | 1.1591 | 1.1639 | 1.2586 | 1.0319 | 1.1392 | 1.1843 | 1.1742 | 1.1603 | 1.1663 | 1.1633 | 1.1732 | 1.1209 | 1.1814 | 1.1988 | 1.2435 | 1.0535 | 1.1981 | 0.8474 | 1.056 | 1.1874 | 1.2011 | 1.195 | 1.1681 | 1.1672 | 1.1505
71 | 85586.013 | 37.2 | 1.2313 | 1.1836 | 0.98 | 1.187 | 1.1812 | 1.1977 | 1.1981 | 1.2253 | 1.2307 | 1.1542 | 1.1971 | 1.126 | 1.1028 | 1.1833 | 1.0359 | 1.1706 | 1.1571 | 1.1671 | 1.1361 | 1.0966 | 1.0289 | 1.1238 | 1.1362 | 1.125 | 0.9033 | 1.2361 | 0.9523 | 1.1891 | 1.1856 | 1.1767 | 1.1854 | 1.1942 | 1.183 | 1.1641 | 1.1643 | 1.1297 | 1.0739 | 1.2985 | 1.0528 | 1.2076 | 1.2118 | 1.1903 | 1.2039 | 1.1869 | 1.1688 | 1.1867 | 1.1889 | 1.1925 | 0.9888 | 1.3481 | 1.0774 | 1.2487 | 1.221 | 1.214 | 1.1779 | 1.1852 | 1.2017 | 1.1789 | 1.1682 | 1.1405 | 0.8903 | 1.2164 | 1.0099 | 1.1339 | 1.133 | 1.1244 | 1.1698 | 1.1842 | 1.1679 | 1.0866 | 1.1692 | 1.1542 | 1.152 | 1.2574 | 1.0312 | 1.1383 | 1.1837 | 1.1736 | 1.1582 | 1.1643 | 1.1609 | 1.1711 | 1.1177 | 1.179 | 1.1905 | 1.2402 | 1.0501 | 1.1953 | 0.8441 | 1.0543 | 1.1866 | 1.1995 | 1.1932 | 1.1603 | 1.1644 | 1.1465
End Time |  |  | A2: 2022-09-20 12:51:00